## README
The Battery Storage Development Handbook: companion workbook
Julian R. Sterling. Every figure in the book is reproduced here by a live formula.
Blue type is an input (Inputs sheet, and the cost split on the Credit sheet). Black type is a formula. No macro, no circular reference, no external link.
Valuation date 1 January 2027 (price paid that day); capital cost at the end of 2027; operating cash at the end of each year 2028 to 2047; credit at the end of 2028.
Pre-tax. The investment credit is counted at its transfer price. Energy, efficiency and availability are AC at the point of interconnection.
Harrow Creek Storage, Linden Grid Partners, Carrow Energy Transition Fund and Westmark Energy Supply are fictional; all case figures are illustrative teaching assumptions, not market data.
Money amounts are in dollars; most are displayed in millions.
Sheets
Inputs: every assumption and the sensitivity switches of chapter 9.
Fleet: usable energy by year, degradation of each block, augmentation and its cost (chapters 2, 10, 11).
Merchant: prices, energy, arbitrage, accreditation, capacity and ancillary revenue (chapter 7).
Cases: cases A (merchant), B (toll) and C (floor): revenue, EBITDA, cash flow, development value, operating values, IRR (chapters 8, 11, 15).
Debt: sculpted debt, credit bridge, equity flows and IRR; lender haircut for case A (chapters 9, 13).
Credit: capital cost, eligible basis, credit at 30/40/50 percent, material assistance cost ratio of three supply options (chapter 12).
Duration: two-, four- and eight-hour designs in year one (chapter 3).
Development: the developer's return and the value of the project at each stage (chapter 15).
Checks: figures printed in the book beside the formulas that produce them, and integrity tests.
Sensitivities: change one switch on Inputs, read the development value on Cases, reset. Break-even toll: Goal Seek on Cases (set case B development value minus case A development value to 0 by changing the toll).
Provided as is, without warranty of any kind. Not investment, legal, tax, accounting or engineering advice.

## Inputs
Inputs (blue = change me)
The asset
Power at the point of interconnection (MW) | 200
Contracted energy at the point of interconnection (MWh) | 800
Energy installed at day one (MWh) | 840
Round-trip efficiency (AC) | 86%
Availability, base and contract guarantee | 97%
Full cycles a year | 330
Cycles allowed by the warranty | 365
Retention loss in a block's first year | 2%
Further retention loss per year of age (points) | 1.7%
Augmentation restores energy to (MWh) | 840
Augmentation step (MWh) | 10
Capital cost (2027 dollars)
DC block ($/kWh of energy installed) | 150
Power conversion ($/kW) | 60
Balance of plant and installation ($/kWh installed) | 70
Contingency on the EPC price | 5%
Interconnection ($) | 24000000
Owner's costs ($) | 8000000
Price paid to the developer at NTP, 1 January 2027 ($) | 16000000
Augmentation, installed $/kWh in 2027 dollars | 125
Augmentation price change a year (nominal decline) | 3%
Net decommissioning, $/kWh installed, 2027 dollars | 12
Investment credit
Credit rate used (30% + 10 points energy community) | 40%
Transfer price per dollar of credit | 0.93
Operating cost (2028 dollars)
LTSA ($/kW-year) | 7.5
Asset management ($) | 600000
Insurance (share of capital cost) | 0.55%
Property tax ($) | 1400000
Land lease ($) | 350000
Auxiliary power ($) | 500000
Operating cost escalation | 2.5%
Merchant revenue (2028 values)
Realized discharge price ($/MWh) | 96
Realized charging price ($/MWh) | 32
Price inflation | 2%
Real erosion of the discharge price a year | 3%
Years of erosion (from 2029) | 8
Capacity price ($/kW-month, accredited) | 7.25
Capacity price escalation | 2%
Accreditation in 2028 | 85%
Accreditation loss a year (points) | 1.5%
Accreditation floor | 70%
Ancillary services ($/kW-year) | 14
Ancillary decline a year | 8%
Ancillary floor ($/kW-year) | 5
Contracts
Toll ($/kW-month, flat nominal) | 12.25
Toll term (years from 2028) | 10
Tolled MW | 200
Revenue floor ($ a year) | 24000000
Floor term (years from 2028) | 10
Provider's share of revenue above the floor | 25%
Discount rates (pre-tax)
Contracted revenue, credit and costs | 7%
Merchant revenue | 9.5%
Debt
Interest rate | 6.5%
Coverage ratio, contracted cash flow | 1.3
Coverage ratio, merchant cash flow | 2
Tenor, contracted cases (years) | 10
Tenor, merchant case (years) | 7
Credit bridge interest | 7%
Lender's haircut on merchant revenue (alternative sizing, case A) | 70%
Coverage ratio with the haircut | 1.4
Sensitivity switches (chapter 9): reset after use
Change in the price spread | 0%
Change in the capacity price | 0%
Change in capital cost (DC block, PCS, BOP, interconnection) | 0%
Extra degradation a year (points) | 0%
Augmentation on (1) or off (0) | 1
Actual availability | 97%

## Fleet
Usable energy, degradation and augmentation (chapters 2, 10, 11)
Year |  | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
t (years from 2028) |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Vintage (year added): energy added (MWh) in column C, contribution by year (MWh)
Blocks added in 2028 (day one) | 840 | 823.2 | 808.92 | 794.64 | 780.36 | 766.08 | 751.8 | 737.52 | 723.24 | 708.96 | 694.68 | 680.4 | 666.12 | 651.84 | 637.56 | 623.28 | 609 | 594.72 | 580.44 | 566.16 | 551.88
Blocks added in 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2030 | 50 | 0 | 0 | 49 | 48.15 | 47.3 | 46.45 | 45.6 | 44.75 | 43.9 | 43.05 | 42.2 | 41.35 | 40.5 | 39.65 | 38.8 | 37.95 | 37.1 | 36.25 | 35.4 | 34.55
Blocks added in 2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2033 | 50 | 0 | 0 | 0 | 0 | 0 | 49 | 48.15 | 47.3 | 46.45 | 45.6 | 44.75 | 43.9 | 43.05 | 42.2 | 41.35 | 40.5 | 39.65 | 38.8 | 37.95 | 37.1
Blocks added in 2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2036 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 48.15 | 47.3 | 46.45 | 45.6 | 44.75 | 43.9 | 43.05 | 42.2 | 41.35 | 40.5 | 39.65
Blocks added in 2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2039 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 48.15 | 47.3 | 46.45 | 45.6 | 44.75 | 43.9 | 43.05 | 42.2
Blocks added in 2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2042 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 48.15 | 47.3 | 46.45 | 45.6 | 44.75
Blocks added in 2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2045 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58.8 | 57.78 | 56.76
Blocks added in 2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Blocks added in 2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy before augmentation (MWh) |  | 823.2 | 808.92 | 794.64 | 828.51 | 813.38 | 798.25 | 831.27 | 815.29 | 799.31 | 831.48 | 814.65 | 797.82 | 829.14 | 811.46 | 793.78 | 824.25 | 805.72 | 787.19 | 826.44 | 806.89
Augmentation added (MWh) |  | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 50 | 0 | 0 | 60 | 0 | 0
Usable energy, average of the year (MWh) |  | 823.2 | 808.92 | 843.64 | 828.51 | 813.38 | 847.25 | 831.27 | 815.29 | 848.31 | 831.48 | 814.65 | 846.82 | 829.14 | 811.46 | 842.78 | 824.25 | 805.72 | 845.99 | 826.44 | 806.89
Augmentation price ($/kWh) |  | 121.25 | 117.6125 | 114.0841 | 110.6616 | 107.3418 | 104.1215 | 100.9979 | 97.9679 | 95.0289 | 92.178 | 89.4127 | 86.7303 | 84.1284 | 81.6045 | 79.1564 | 76.7817 | 74.4783 | 72.2439 | 70.0766 | 67.9743
Augmentation cost ($) |  | 0 | 0 | 5704206.25 | 0 | 0 | 5206075.0308 | 0 | 0 | 4751444.1166 | 0 | 0 | 4336514.7562 | 0 | 0 | 3957819.9321 | 0 | 0 | 4334634.4691 | 0 | 0
Total augmentation (MWh) | 310
Total augmentation cost ($, nominal) | 28290694.5548
Level augmentation reserve ($ a year) | 1414534.7277
Lowest usable energy (MWh) | 805.72

## Merchant
Merchant revenue (chapter 7)
Year | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
t | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Real factor of the discharge price | 1 | 0.97 | 0.9409 | 0.91267 | 0.88529 | 0.85873 | 0.83297 | 0.80798 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374 | 0.78374
Discharge price before the spread switch ($/MWh) | 96 | 94.9824 | 93.9756 | 92.9794 | 91.9939 | 91.0187 | 90.0539 | 89.0994 | 88.1549 | 89.918 | 91.7164 | 93.5507 | 95.4217 | 97.3301 | 99.2767 | 101.2623 | 103.2875 | 105.3533 | 107.4603 | 109.6095
Charging price ($/MWh) | 32 | 32.64 | 33.2928 | 33.9587 | 34.6378 | 35.3306 | 36.0372 | 36.7579 | 37.4931 | 38.243 | 39.0078 | 39.788 | 40.5837 | 41.3954 | 42.2233 | 43.0678 | 43.9291 | 44.8077 | 45.7039 | 46.618
Discharge price used ($/MWh) | 96 | 94.9824 | 93.9756 | 92.9794 | 91.9939 | 91.0187 | 90.0539 | 89.0994 | 88.1549 | 89.918 | 91.7164 | 93.5507 | 95.4217 | 97.3301 | 99.2767 | 101.2623 | 103.2875 | 105.3533 | 107.4603 | 109.6095
Energy per cycle (MWh, capped at the contract) | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800 | 800
Energy discharged (MWh) | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080 | 256080
Energy charged (MWh) | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419 | 297767.4419
Arbitrage ($) | 15055121.8605 | 14603963.6897 | 14151756.3179 | 13698394.2372 | 13243770.7252 | 12787777.8118 | 12330306.2444 | 11871245.4531 | 11410483.5154 | 11638693.1857 | 11871467.0494 | 12108896.3904 | 12351074.3182 | 12598095.8046 | 12850057.7207 | 13107058.8751 | 13369200.0526 | 13636584.0536 | 13909315.7347 | 14187502.0494
Accreditation | 85% | 83.5% | 82% | 80.5% | 79% | 77.5% | 76% | 74.5% | 73% | 71.5% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70% | 70%
Capacity ($) | 14790000 | 14819580 | 14844427.2 | 14864340.456 | 14879112.4714 | 14888529.6312 | 14892371.8323 | 14890412.3097 | 14882417.4575 | 14868146.6462 | 14847352.0355 | 15144299.0762 | 15447185.0578 | 15756128.7589 | 16071251.3341 | 16392676.3608 | 16720529.888 | 17054940.4858 | 17396039.2955 | 17743960.0814
Ancillary services ($) | 2800000 | 2576000 | 2369920 | 2180326.4 | 2005900.288 | 1845428.265 | 1697794.0038 | 1561970.4835 | 1437012.8448 | 1322051.8172 | 1216287.6718 | 1118984.6581 | 1029465.8854 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 1000000
Merchant revenue ($) | 32645121.8605 | 31999543.6897 | 31366103.5179 | 30743061.0932 | 30128783.4845 | 29521735.7079 | 28920472.0805 | 28323628.2463 | 27729913.8177 | 27828891.6491 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308

## Cases
Cases A (merchant), B (toll) and C (floor) (chapters 8, 11, 15)
Year |  | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
t |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Operating cost ($) |  | 5662520 | 5804083 | 5949185.075 | 6097914.7019 | 6250362.5694 | 6406621.6337 | 6566787.1745 | 6730956.8539 | 6899230.7752 | 7071711.5446 | 7248504.3332 | 7429716.9415 | 7615459.8651 | 7805846.3617 | 8000992.5207 | 8201017.3338 | 8406042.7671 | 8616193.8363 | 8831598.6822 | 9052388.6492
Discount factor to 1 Jan 2027, contracted rate |  | 0.87344 | 0.8163 | 0.7629 | 0.71299 | 0.66634 | 0.62275 | 0.58201 | 0.54393 | 0.50835 | 0.47509 | 0.44401 | 0.41496 | 0.38782 | 0.36245 | 0.33873 | 0.31657 | 0.29586 | 0.27651 | 0.25842 | 0.24151
Discount factor to 1 Jan 2027, merchant rate |  | 0.83401 | 0.76165 | 0.69557 | 0.63523 | 0.58012 | 0.52979 | 0.48382 | 0.44185 | 0.40351 | 0.36851 | 0.33654 | 0.30734 | 0.28067 | 0.25632 | 0.23409 | 0.21378 | 0.19523 | 0.17829 | 0.16282 | 0.1487
Discount factor to 1 Jan 2028, contracted rate |  | 0.93458 | 0.87344 | 0.8163 | 0.7629 | 0.71299 | 0.66634 | 0.62275 | 0.58201 | 0.54393 | 0.50835 | 0.47509 | 0.44401 | 0.41496 | 0.38782 | 0.36245 | 0.33873 | 0.31657 | 0.29586 | 0.27651 | 0.25842
Discount factor to 1 Jan 2028, merchant rate |  | 0.91324 | 0.83401 | 0.76165 | 0.69557 | 0.63523 | 0.58012 | 0.52979 | 0.48382 | 0.44185 | 0.40351 | 0.36851 | 0.33654 | 0.30734 | 0.28067 | 0.25632 | 0.23409 | 0.21378 | 0.19523 | 0.17829 | 0.16282
Discount factor to 1 Jan 2033, contracted rate |  | 0 | 0 | 0 | 0 | 0 | 0.93458 | 0.87344 | 0.8163 | 0.7629 | 0.71299 | 0.66634 | 0.62275 | 0.58201 | 0.54393 | 0.50835 | 0.47509 | 0.44401 | 0.41496 | 0.38782 | 0.36245
Discount factor to 1 Jan 2033, merchant rate |  | 0 | 0 | 0 | 0 | 0 | 0.91324 | 0.83401 | 0.76165 | 0.69557 | 0.63523 | 0.58012 | 0.52979 | 0.48382 | 0.44185 | 0.40351 | 0.36851 | 0.33654 | 0.30734 | 0.28067 | 0.25632
Decommissioning at the end of 2047 ($) | 16930185.0611
Case A: fully merchant
Contracted revenue ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Merchant revenue ($) |  | 32645121.8605 | 31999543.6897 | 31366103.5179 | 30743061.0932 | 30128783.4845 | 29521735.7079 | 28920472.0805 | 28323628.2463 | 27729913.8177 | 27828891.6491 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308
Revenue ($) |  | 32645121.8605 | 31999543.6897 | 31366103.5179 | 30743061.0932 | 30128783.4845 | 29521735.7079 | 28920472.0805 | 28323628.2463 | 27729913.8177 | 27828891.6491 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308
EBITDA ($) |  | 26982601.8605 | 26195460.6897 | 25416918.4429 | 24645146.3913 | 23878420.9151 | 23115114.0742 | 22353684.906 | 21592671.3925 | 20830683.0425 | 20757180.1045 | 20686602.4236 | 20942463.1832 | 21212265.3963 | 21548378.2018 | 21920316.534 | 22298717.9021 | 22683687.1735 | 23075330.7031 | 23473756.348 | 23879073.4815
Augmentation ($) |  | 0 | 0 | 5704206.25 | 0 | 0 | 5206075.0308 | 0 | 0 | 4751444.1166 | 0 | 0 | 4336514.7562 | 0 | 0 | 3957819.9321 | 0 | 0 | 4334634.4691 | 0 | 0
Cash flow after augmentation ($) |  | 26982601.8605 | 26195460.6897 | 19712712.1929 | 24645146.3913 | 23878420.9151 | 17909039.0434 | 22353684.906 | 21592671.3925 | 16079238.9259 | 20757180.1045 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 23879073.4815
Value of the credit and the flows at 1 January 2027 ($) | 224054155.6943
Development value at 1 January 2027 (less the capital cost) ($) | 1026118.3111
Operating value at 1 January 2028, credit excluded ($) | 173975572.6611
Value on 1 January 2033 ($) | 140024549.5847
Unlevered pre-tax IRR at total cost (price and capital cost) | 9.921%
Unlevered cash flow by period k (k = years after 1 January 2027): 0 = 2027 start, 1 = end 2027, 2 = end 2028 ... 21 = end 2047
| -16000000 | -238640000 | 103852681.8605 | 26195460.6897 | 19712712.1929 | 24645146.3913 | 23878420.9151 | 17909039.0434 | 22353684.906 | 21592671.3925 | 16079238.9259 | 20757180.1045 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 6948888.4205
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Case B: ten-year toll, then merchant
Contracted revenue ($) |  | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Merchant revenue ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308
Revenue ($) |  | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 29400000 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308
EBITDA ($) |  | 23737480 | 23595917 | 23450814.925 | 23302085.2981 | 23149637.4306 | 22993378.3663 | 22833212.8255 | 22669043.1461 | 22500769.2248 | 22328288.4554 | 20686602.4236 | 20942463.1832 | 21212265.3963 | 21548378.2018 | 21920316.534 | 22298717.9021 | 22683687.1735 | 23075330.7031 | 23473756.348 | 23879073.4815
Augmentation ($) |  | 0 | 0 | 5704206.25 | 0 | 0 | 5206075.0308 | 0 | 0 | 4751444.1166 | 0 | 0 | 4336514.7562 | 0 | 0 | 3957819.9321 | 0 | 0 | 4334634.4691 | 0 | 0
Cash flow after augmentation ($) |  | 23737480 | 23595917 | 17746608.675 | 23302085.2981 | 23149637.4306 | 17787303.3355 | 22833212.8255 | 22669043.1461 | 17749325.1082 | 22328288.4554 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 23879073.4815
Value of the credit and the flows at 1 January 2027 ($) | 243023171.5007
Development value at 1 January 2027 (less the capital cost) ($) | 19995134.1175
Operating value at 1 January 2028, credit excluded ($) | 189922035.219
Value on 1 January 2033 ($) | 150951176.4574
Unlevered pre-tax IRR at total cost (price and capital cost) | 9.462%
Unlevered cash flow by period k (k = years after 1 January 2027): 0 = 2027 start, 1 = end 2027, 2 = end 2028 ... 21 = end 2047
| -16000000 | -238640000 | 100607560 | 23595917 | 17746608.675 | 23302085.2981 | 23149637.4306 | 17787303.3355 | 22833212.8255 | 22669043.1461 | 17749325.1082 | 22328288.4554 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 6948888.4205
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Case C: ten-year revenue floor, then merchant
Contracted revenue ($) |  | 24000000 | 24000000 | 24000000 | 24000000 | 24000000 | 24000000 | 24000000 | 24000000 | 24000000 | 24000000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Merchant revenue ($) |  | 6483841.3953 | 5999657.7673 | 5524577.6384 | 5057295.8199 | 4596587.6134 | 4141301.7809 | 3690354.0604 | 3242721.1848 | 2797435.3632 | 2871668.7368 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308
Revenue ($) |  | 30483841.3953 | 29999657.7673 | 29524577.6384 | 29057295.8199 | 28596587.6134 | 28141301.7809 | 27690354.0604 | 27242721.1848 | 26797435.3632 | 26871668.7368 | 27935106.7568 | 28372180.1247 | 28827725.2614 | 29354224.5635 | 29921309.0548 | 30499735.2359 | 31089729.9406 | 31691524.5394 | 32305355.0302 | 32931462.1308
EBITDA ($) |  | 24821321.3953 | 24195574.7673 | 23575392.5634 | 22959381.118 | 22346225.044 | 21734680.1473 | 21123566.8859 | 20511764.3309 | 19898204.588 | 19799957.1923 | 20686602.4236 | 20942463.1832 | 21212265.3963 | 21548378.2018 | 21920316.534 | 22298717.9021 | 22683687.1735 | 23075330.7031 | 23473756.348 | 23879073.4815
Augmentation ($) |  | 0 | 0 | 5704206.25 | 0 | 0 | 5206075.0308 | 0 | 0 | 4751444.1166 | 0 | 0 | 4336514.7562 | 0 | 0 | 3957819.9321 | 0 | 0 | 4334634.4691 | 0 | 0
Cash flow after augmentation ($) |  | 24821321.3953 | 24195574.7673 | 17871186.3134 | 22959381.118 | 22346225.044 | 16528605.1165 | 21123566.8859 | 20511764.3309 | 15146760.4714 | 19799957.1923 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 23879073.4815
Value of the credit and the flows at 1 January 2027 ($) | 234875471.3263
Development value at 1 January 2027 (less the capital cost) ($) | 11847433.9431
Operating value at 1 January 2028, credit excluded ($) | 181886456.3393
Value on 1 January 2033 ($) | 141909735.4543
Unlevered pre-tax IRR at total cost (price and capital cost) | 9.154%
Unlevered cash flow by period k (k = years after 1 January 2027): 0 = 2027 start, 1 = end 2027, 2 = end 2028 ... 21 = end 2047
| -16000000 | -238640000 | 101691401.3953 | 24195574.7673 | 17871186.3134 | 22959381.118 | 22346225.044 | 16528605.1165 | 21123566.8859 | 20511764.3309 | 15146760.4714 | 19799957.1923 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 6948888.4205
| 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21
Toll minus case A development value (Goal Seek this to 0 by changing the toll on Inputs) | 18969015.8064

## Debt
Debt, credit bridge and equity (chapters 9 and 13)
Year |  | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047
t |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
Level augmentation reserve ($ a year) | 1414534.7277
Case A: merchant at the merchant ratio
CFADS within the tenor ($) |  | 25568067.1327 | 24780925.9619 | 24002383.7152 | 23230611.6635 | 22463886.1874 | 21700579.3465 | 20939150.1782 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service ($) |  | 12784033.5664 | 12390462.981 | 12001191.8576 | 11615305.8318 | 11231943.0937 | 10850289.6732 | 10469575.0891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Term debt drawn at the end of 2027 ($) | 64263265.6714
Equity in 2027: price plus capital cost less debt and bridge ($) | 118535538.0669
Pre-tax equity IRR | 10.83%
Equity cash flow by period k (0 = 1 Jan 2027, 1 = end 2027, 2 = end 2028 ...)
| -16000000 | -102535538.0669 | 14198568.2941 | 13804997.7087 | 7711520.3353 | 13029840.5595 | 12646477.8214 | 7058749.3702 | 11884109.8169 | 21592671.3925 | 16079238.9259 | 20757180.1045 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 6948888.4205
Case B: toll at the contracted ratio
CFADS within the tenor ($) |  | 22322945.2723 | 22181382.2723 | 22036280.1973 | 21887550.5704 | 21735102.7028 | 21578843.6386 | 21418678.0978 | 21254508.4184 | 21086234.4971 | 20913753.7277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service ($) |  | 17171496.3633 | 17062601.7479 | 16950984.7671 | 16836577.3618 | 16719309.7714 | 16599110.4912 | 16475906.229 | 16349621.8603 | 16220180.3823 | 16087502.8674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Term debt drawn at the end of 2027 ($) | 120120333.0533
Equity in 2027: price plus capital cost less debt and bridge ($) | 62678470.685
Pre-tax equity IRR | 11.83%
Equity cash flow by period k (0 = 1 Jan 2027, 1 = end 2027, 2 = end 2028 ...)
| -16000000 | -46678470.685 | 6565983.6367 | 6533315.2521 | 795623.9079 | 6465507.9363 | 6430327.6592 | 1188192.8443 | 6357306.5965 | 6319421.2858 | 1529144.7259 | 6240785.588 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 6948888.4205
Case C: floor at the contracted ratio, upside at the merchant ratio
CFADS within the tenor ($) |  | 23406786.6676 | 22781040.0395 | 22160857.8357 | 21544846.3903 | 20931690.3162 | 20320145.4195 | 19709032.1581 | 19097229.6032 | 18483669.8603 | 18385422.4645 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service ($) |  | 16259570.9071 | 15908584.4777 | 15559427.4325 | 15211379.1179 | 14863757.4243 | 14515915.2278 | 14167237.1054 | 13817136.2988 | 13465051.9101 | 13369491.082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Term debt drawn at the end of 2027 ($) | 107022358.1309
Equity in 2027: price plus capital cost less debt and bridge ($) | 75776445.6075
Pre-tax equity IRR | 10.84%
Equity cash flow by period k (0 = 1 Jan 2027, 1 = end 2027, 2 = end 2028 ...)
| -16000000 | -59776445.6075 | 8561750.4882 | 8286990.2896 | 2311758.8809 | 7748002.0001 | 7482467.6197 | 2012689.8886 | 6956329.7805 | 6694628.0321 | 1681708.5613 | 6430466.1102 | 20686602.4236 | 16605948.427 | 21212265.3963 | 21548378.2018 | 17962496.6019 | 22298717.9021 | 22683687.1735 | 18740696.234 | 23473756.348 | 6948888.4205
Case A, lender's haircut: merchant revenue x haircut at the haircut ratio
CFADS within the tenor ($) |  | 15774530.5746 | 15181062.855 | 14592552.6598 | 14007693.3356 | 13425251.142 | 12844058.6341 | 12263008.5541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt service ($) |  | 11267521.839 | 10843616.325 | 10423251.8999 | 10005495.2397 | 9589465.1014 | 9174327.5958 | 8759291.8244 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Term debt drawn at the end of 2027 ($) | 55469895.064

## Credit
Capital cost, investment credit and material assistance (chapters 2 and 12)
DC block | 126000000
Power conversion | 12000000
Balance of plant and installation | 58800000
EPC price | 196800000
Contingency | 9840000
Interconnection | 24000000
Owner's costs | 8000000
Total capital cost | 238640000
Per kW | 1193.2
Per kWh of contracted energy | 298.3
Eligible basis (EPC and contingency) | 206640000
Credit at the rate used | 82656000
Credit cash at the transfer price (end of 2028) | 76870080
Credit at 30 percent | 61992000
Credit at 50 percent | 103320000
Cash at 30 percent | 57652560
Cash at 50 percent | 96087600
Credit bridge drawn at the end of 2027 | 71841196.2617
Material assistance cost ratio: illustrative split of direct costs (not the Treasury table)
| Share | Option 1 | Option 2 | Option 3 | 1 = from a prohibited foreign entity
cells | 46% | 1 | 0 | 1
modules, racks and battery management | 10% | 1 | 0 | 0
enclosure, thermal and fire systems | 12% | 1 | 1 | 0
power conversion | 9% | 0 | 0 | 0
medium-voltage transformers and switchgear | 8% | 0 | 0 | 0
controls and energy management | 3% | 0 | 0 | 0
other manufactured products | 12% | 0 | 0 | 0
Total of the split (must be 100%) | 100%
Material assistance cost ratio |  | 32% | 88% | 54%
Passes the threshold for construction beginning in 2026 | 55% | no | yes | no
Passes the threshold for construction beginning in 2027 | 60% | no | yes | no
Passes the threshold for construction beginning in 2028 | 65% | no | yes | no
Passes the threshold for construction beginning in 2029 | 70% | no | yes | no
Passes the threshold for construction beginning in 2030 and after | 75% | no | yes | no
DC block price of each option ($/kWh): enter it on Inputs with the credit rate (0 if it fails) to read its development value |  | 128 | 150 | 136

## Duration
Two-, four- and eight-hour designs at 200 MW, year one (chapter 3); base availability, no sensitivity switch
Hours | 2 | 4 | 8
Realized discharge price ($/MWh) | 118 | 96 | 76
Realized charging price ($/MWh) | 28 | 32 | 37
Accreditation | 55% | 85% | 96%
Energy (MWh) | 400 | 800 | 1600
Energy installed (MWh, 5% overbuild) | 420 | 840 | 1680
Capital cost ($) | 141620000 | 238640000 | 432680000
Per kW | 708.1 | 1193.2 | 2163.4
Per kWh | 354.05 | 298.3 | 270.425
Energy discharged (MWh) | 128040 | 256080 | 512160
Arbitrage ($) | 10939975.814 | 15055121.8605 | 16889369.3023
Capacity ($) | 9570000 | 14790000 | 16704000
Ancillary ($) | 2800000 | 2800000 | 2800000
Merchant revenue ($) | 23309975.814 | 32645121.8605 | 36393369.3023
Per kW-year | 116.5499 | 163.2256 | 181.9668
First-year revenue / capital cost | 16.46% | 13.68% | 8.411%

## Development
The developer's return and the value of the project by stage (chapter 15)
Linden: spending at the start of each year and sale on 1 January 2027 ($)
| 2023 | 2024 | 2025 | 2026 | 2027
| -1000000 | -1500000 | -2000000 | -2000000 | 16000000
Spent | 6500000
Multiple | 2.4615
IRR | 44.66%
Value to an outside buyer at each stage: probability x NTP price / (1+r)^n, less remaining spend / (1+r)^(n/2)
Discount rate for development risk | 15%
| Year | Probability | Remaining spend | Value
site control and interconnection request filed | 2024 | 15% | 5500000 | -2881766.6468
cluster study results received | 2025 | 35% | 4000000 | 756143.6673
facilities study complete, interconnection agreement and permits in progress | 2026 | 70% | 2000000 | 7874120.8183
notice to proceed: permits, interconnection and supply contracts in hand | 2027 | 100% | 0 | 16000000

## Checks
Checks: figures printed in the book against the live formulas (valid with the default inputs)
Result (all printed figures, default inputs): |  | ALL CHECKS OK |  | INTEGRITY OK
Figure | Printed | Formula | Tolerance | OK?
Total capital cost ($ million) | 238600000 | 238640000 | 50000 | OK
Credit cash ($ million) | 76900000 | 76870080 | 50000 | OK
Eligible basis ($ million) | 206600000 | 206640000 | 50000 | OK
Credit bridge ($ million) | 71800000 | 71841196.2617 | 50000 | OK
Augmentation total ($ million) | 28300000 | 28290694.5548 | 50000 | OK
Augmentation total (MWh) | 310 | 310 | 0.5 | OK
Level augmentation reserve ($ million) | 1410000 | 1414534.7277 | 5000 | OK
2028 arbitrage ($ million) | 15060000 | 15055121.8605 | 5000 | OK
2028 capacity ($ million) | 14790000 | 14790000 | 5000 | OK
2028 merchant revenue ($ million) | 32650000 | 32645121.8605 | 5000 | OK
2037 merchant revenue ($ million) | 27830000 | 27828891.6491 | 5000 | OK
2028 operating cost ($ million) | 5660000 | 5662520 | 5000 | OK
Case A development value ($ million) | 1000000 | 1026118.3111 | 50000 | OK
Case A operating value at 1 January 2028 ($ million) | 174000000 | 173975572.6611 | 50000 | OK
Case A unlevered IRR | 0.0992 | 0.099213 | 5e-05 | OK
Case B development value ($ million) | 20000000 | 19995134.1175 | 50000 | OK
Case B operating value at 1 January 2028 ($ million) | 189900000 | 189922035.219 | 50000 | OK
Case B unlevered IRR | 0.0946 | 0.094616 | 5e-05 | OK
Case C development value ($ million) | 11800000 | 11847433.9431 | 50000 | OK
Case C operating value at 1 January 2028 ($ million) | 181900000 | 181886456.3393 | 50000 | OK
Case C unlevered IRR | 0.0915 | 0.09154 | 5e-05 | OK
Case A term debt ($ million) | 64300000 | 64263265.6714 | 50000 | OK
Case A equity in 2027 ($ million) | 118500000 | 118535538.0669 | 50000 | OK
Case A equity IRR | 0.1083 | 0.10826 | 5e-05 | OK
Case B term debt ($ million) | 120100000 | 120120333.0533 | 50000 | OK
Case B equity in 2027 ($ million) | 62700000 | 62678470.685 | 50000 | OK
Case B equity IRR | 0.1183 | 0.11826 | 5e-05 | OK
Case C term debt ($ million) | 107000000 | 107022358.1309 | 50000 | OK
Case C equity in 2027 ($ million) | 75800000 | 75776445.6075 | 50000 | OK
Case C equity IRR | 0.1084 | 0.10844 | 5e-05 | OK
Case A debt with the haircut ($ million) | 55500000 | 55469895.064 | 50000 | OK
Case B first-year debt service ($ million) | 17170000 | 17171496.3633 | 5000 | OK
Case A value on 1 January 2033 ($ million) | 140000000 | 140024549.5847 | 50000 | OK
Case B value on 1 January 2033 ($ million) | 151000000 | 150951176.4574 | 50000 | OK
Material assistance ratio, option 1 | 0.32 | 0.32 | 0.0005 | OK
Material assistance ratio, option 2 | 0.88 | 0.88 | 0.0005 | OK
Material assistance ratio, option 3 | 0.54 | 0.54 | 0.0005 | OK
Two-hour first-year revenue / capital cost | 0.165 | 0.1646 | 0.0005 | OK
Four-hour first-year revenue / capital cost | 0.137 | 0.1368 | 0.0005 | OK
Eight-hour first-year revenue / capital cost | 0.084 | 0.084112 | 0.0005 | OK
Developer multiple | 2.46 | 2.4615 | 0.005 | OK
Developer IRR | 0.447 | 0.44665 | 0.0005 | OK
Stage value 1 January 2026 ($ million) | 7900000 | 7874120.8183 | 50000 | OK
Integrity tests (valid with any inputs)
Usable energy never below the contract with augmentation on |  |  |  | OK
Cycles within the warranty |  |  |  | OK
Cost split adds up to 100% |  |  |  | OK
Capacity revenue on accredited MW (2028 capacity = price x 12 x MW x accreditation x energy and availability factors) |  |  |  | OK
Revenue = contracted + merchant, every case and year |  |  |  | OK
Merchant revenue discounted at the merchant rate, contracted at the contracted rate |  |  |  | OK