## Cover
The Renewable Energy Development Handbook: companion workbook
Julian R. Sterling. Renewable_Energy_Development_Model.xlsx rebuilds every case figure of the book with live formulas.
The case
Asset: Cedar Hollow Solar: 150 MWac / 195 MWdc (inverter loading ratio 1.30), single-axis trackers, US-assembled modules, in Marlow County, a fictional county of an organized wholesale market in the central United States with a capacity mechanism; point of interconnection on a 230 kV line six miles away.
Parties: developer Calder Plains Renewables (Calder); buyer at notice to proceed Ashgrove Clean Power Fund (Ashgrove); utility offtaker Norland Electric Cooperative (Norland); corporate offtaker Quillon Data Systems (Quillon), a data center operator; EPC contractor Ironbridge Constructors (Ironbridge); module supplier Larkspur Solar Manufacturing (Larkspur); the landowners are the Pruett, Haldane and Ostrowski families; all names are fictional.
Timeline: land options signed January 2022; interconnection request filed in a cluster January 2023; cluster study results and permit application January 2024; conditional use permit granted by the Marlow County board and facilities study under way January 2025; interconnection agreement (LGIA) signed January 2026; utility PPA signed and construction begun through physical work in June 2026 (before the 4 July 2026 deadline); notice to proceed and sale to Ashgrove 1 January 2027; construction through 2027; commercial operation 1 January 2028; 35 operating years, 2028 to 2062.
Colour code
Blue type is an input; every hard-coded number of the workbook sits on the Inputs sheet and carries a range name (cf_p50, u_price, premium ...).
Black type is a formula. No macro, no circular reference, no external link, no hidden sheet. Money is in dollars, mostly displayed in $ million.
Conventions
Valuation date 1 January 2027 (Ashgrove pays the NTP price that day). Capital cost less the reimbursement at the end of 2027; each operating year at its end, 2028 to 2062; ITC cash at the end of 2028; decommissioning at the end of 2062.
Contracted revenue, credit cash and all costs at 7.0 percent; merchant revenue at 9.5 percent; development stages at 15 percent. Pre-tax: credits at their transfer price; depreciation only on the Tax equity sheet.
PTC rate: ROUND(0.3 x factor / 0.05) x 0.05 x 5 cents per kWh, factor 2.0570 growing 2.5 percent a year after 2026 (a case assumption).
How to use it
1. Change one input or one switch at the bottom of Inputs (offtake case, credit, bonus, energy level, capital cost, module price, network upgrades, hub price, discount rates).
2. Read the development value, the highest premium and the IRR on Cases, the debt on Debt, the tornado on Sensitivities.
3. Reset the switch before the next test. The Checks sheet reads ALL OK on the default inputs; after a change it shows which printed figures moved.
Example: set the network upgrades override to 30,000,000 and case U falls to $21.6 million on Cases.
Sheets
Inputs; Capex (ch. 8, 10, 11); Energy (ch. 4); Market (ch. 7); Opex (ch. 3, 15); Credits (ch. 11); Cases (ch. 7, 10, 14); Breakeven (ch. 7); Sensitivities (ch. 3, 4, 6, 8, 10, 11);
Screening (ch. 2); Interconnection (ch. 6); Stages (ch. 1, 5, 10, 14); Sale (ch. 14); Debt and Tax equity (ch. 12); FEOC (ch. 11); Wind (ch. 2, 4, 8, 11); Hybrid (ch. 13); EPC (ch. 9, 15); Checks.
Cases, Sensitivities, Breakeven, Debt, Tax equity and EPC follow the switches. Screening, Stages, Sale, Wind and Hybrid use the base inputs.
What the model leaves out
Income tax outside the tax equity sheet; hourly dispatch, curtailment and negative prices; availability guarantees and delay damages owed to Norland; financing fees, interest during construction and reserves in the unlevered flows; PTC inflation beyond the 2.5 percent assumption; the value of Calder's team and origination engine.
Cedar Hollow Solar, Hartwell Ridge Wind, Calder Plains Renewables, Ashgrove Clean Power Fund, Norland, Quillon, Ironbridge, Larkspur and Marlow County are fictional. All inputs are illustrative teaching assumptions, not market data.
Provided as is, without warranty of any kind. Not investment, legal, tax, accounting or engineering advice.

## Inputs
Inputs: every hard-coded number of the workbook (blue = change me)
Each input carries a range name (column H) so the formulas read like the book. Reset the scenario switches after a test.
Timing and size
Valuation date and notice to proceed: 1 January of | 2027 |  |  |  |  | ntp_year
Commercial operation: 1 January of | 2028 |  |  |  |  | cod_year
Operating life (years; the operating sheets have 35 columns) | 35 |  |  |  |  | life_years
Capacity (MWac) | 150 |  |  |  |  | mwac
Modules (MWdc) | 195 |  |  |  |  | mwdc
Hours a year | 8760 |  |  |  |  | hours
Net AC capacity factor, P50, year one | 26% |  |  |  |  | cf_p50
Module degradation a year | 0.4% |  |  |  |  | deg_rate
Energy uncertainty (one standard deviation, share of P50) and normal quantiles
Interannual variability (one year) | 5% |  |  |  |  | s_iav
Long-term resource estimate | 4% |  |  |  |  | s_lt
Energy model and loss assumptions | 3.5% |  |  |  |  | s_mod
z value for P75 | 0.6745 |  |  |  |  | z_p75
z value for P90 | 1.2816 |  |  |  |  | z_p90
z value for P99 | 2.3263 |  |  |  |  | z_p99
Averaging period of the multi-year exceedance levels (years) | 10 |  |  |  |  | horizon
Loss waterfall from gross DC energy to net AC energy at the point of interconnection
Soiling and snow | 2% |  |  |  |  | loss_1
Near shading and row-to-row shading | 1.5% |  |  |  |  | loss_2
Temperature | 6% |  |  |  |  | loss_3
Module quality, mismatch and DC wiring | 2.5% |  |  |  |  | loss_4
Inverter efficiency | 2% |  |  |  |  | loss_5
Clipping at the 1.30 loading ratio | 1.5% |  |  |  |  | loss_6
AC wiring, transformers and gen-tie | 1.5% |  |  |  |  | loss_7
Availability | 1% |  |  |  |  | loss_8
Land
Acres optioned in 2022 | 1250 |  |  |  |  | acres_opt
Acres finally leased | 1050 |  |  |  |  | acres_lease
Option payment during development ($ per acre-year) | 40 |  |  |  |  | opt_fee
Lease rent from 2028 ($ per acre-year) | 1000 |  |  |  |  | rent_acre
Rent escalation a year | 2% |  |  |  |  | rent_esc
Operating term of the lease (years) | 35 |  |  |  |  | lease_term
Number of extensions | 2 |  |  |  |  | lease_ext
Length of each extension (years) | 5 |  |  |  |  | lease_ext_years
Capital cost (2027 dollars)
Modules ($/Wdc, owner-furnished) | 0.3 |  |  |  |  | module_w
Trackers and racking ($/Wdc) | 0.14 |  |  |  |  | tracker_w
Inverters and medium-voltage skids ($/Wac) | 0.06 |  |  |  |  | inverter_w
Electrical balance of system, civil works, installation ($/Wdc) | 0.4 |  |  |  |  | bos_w
Project substation and 6-mile 230 kV gen-tie ($) | 12000000 |  |  |  |  | substation
Contingency on modules plus EPC scope | 5% |  |  |  |  | contingency
Network upgrades assigned in the facilities study ($) | 18000000 |  |  |  |  | interconnect
Owner's costs during construction ($) | 9000000 |  |  |  |  | owner
Net decommissioning after salvage ($/Wdc, 2027 dollars) | 0.04 |  |  |  |  | decom_w
Gen-tie share of the substation line, excluded from the ITC basis | 35% |  |  |  |  | gentie_share
Calder's outlays before NTP (amount in column C, date in column D: 2026.5 = 1 July 2026) | Amount ($) | Date
Development spend on 1 January 2022 | 300000 | 2022 |  |  |  | dev_2022
Development spend on 1 January 2023 | 900000 | 2023 |  |  |  | dev_2023
Development spend on 1 January 2024 | 1800000 | 2024 |  |  |  | dev_2024
Development spend on 1 January 2025 | 2600000 | 2025 |  |  |  | dev_2025
Development spend on 1 January 2026 | 3400000 | 2026 |  |  |  | dev_2026
Interconnection security posted at the LGIA (reimbursed at NTP) | 3600000 | 2026 |  |  |  | ic_security
Physical work of June 2026 (reimbursed at NTP) | 4500000 | 2026.5 |  |  |  | boc_spend
Development and sale at NTP
Development premium paid at NTP ($) | 27000000 |  |  |  |  | premium
Discount rate for development-stage cash flows | 15% |  |  |  |  | r_dev
Cluster study deposit ($) | 150000 |  |  |  |  | study_deposit
Initial readiness deposit, multiple of the study deposit | 2 |  |  |  |  | dep_mult
Readiness deposit at the restudy (share of network upgrades) | 5% |  |  |  |  | dep_restudy
Readiness deposit at the facilities study (share) | 10% |  |  |  |  | dep_facilities
Security at the LGIA (share) | 20% |  |  |  |  | dep_lgia
Development stages (probability of reaching NTP in column C, stage date in column D) | Probability | Date
Site control: land options signed, first screening done | 20% | 2022 |  |  |  | stage_p_1
Interconnection request filed in a cluster, studies under way | 30% | 2023 |  |  |  | stage_p_2
Cluster study results received; environmental studies done; permit application filed | 45% | 2024 |  |  |  | stage_p_3
Conditional use permit granted; facilities study under way | 65% | 2025 |  |  |  | stage_p_4
Interconnection agreement signed; PPA under negotiation | 80% | 2026 |  |  |  | stage_p_5
PPA signed and construction begun (physical work, June 2026) | 92% | 2026.5 |  |  |  | stage_p_6
Notice to proceed: permits, interconnection, PPA, EPC and supply contracts in hand | 100% | 2027 |  |  |  | stage_p_7
Calder's platform on 1 January 2027 (MWac in column C, stage date in column D)
Pipeline at the 2022 stage (MWac) | 1800 | 2022 |  |  |  | pipe_2022
Pipeline at the 2023 stage (MWac) | 900 | 2023 |  |  |  | pipe_2023
Pipeline at the 2024 stage (MWac) | 600 | 2024 |  |  |  | pipe_2024
Pipeline at the 2025 stage (MWac) | 450 | 2025 |  |  |  | pipe_2025
Pipeline at the 2026 stage (MWac) | 300 | 2026 |  |  |  | pipe_2026
Pipeline at the 2027 stage (MWac) | 150 | 2027 |  |  |  | pipe_2027
Sale structures (chapter 14)
Milestone sale on 1 January 2025: cash at signing ($) | 2000000 |  |  |  |  | eo_upfront
Payment at the LGIA, if reached ($) | 3000000 |  |  |  |  | eo_lgia
Payment at NTP, if reached ($) | 5000000 |  |  |  |  | eo_ntp
Date of the milestone sale | 2025 |  |  |  |  | eo_date
Later sale date for the operating project: 1 January of | 2038 |  |  |  |  | sale_year
Stage date tested for a one-year slip | 2025 |  |  |  |  | delay_stage
Length of the slip (years) | 1 |  |  |  |  | delay_years
Operating cost (2028 dollars)
O&M contract ($/kWac-year) | 9 |  |  |  |  | om_kw
Asset management ($) | 350000 |  |  |  |  | am_cost
Insurance (share of capital cost) | 0.3% |  |  |  |  | ins_rate
Payment in lieu of taxes ($) | 1100000 |  |  |  |  | prop_tax
Station power, telecoms, interconnection operation ($) | 250000 |  |  |  |  | misc_cost
Operating cost escalation a year | 2.5% |  |  |  |  | opex_esc
Market (2028 values, nominal)
Hub around-the-clock price ($/MWh) | 50 |  |  |  |  | hub_2028
Hub price escalation a year | 2.5% |  |  |  |  | hub_esc
Solar capture rate in 2028 | 90% |  |  |  |  | capture_2028
Capture rate loss a year (points) | 0.8% |  |  |  |  | capture_step
Capture rate floor | 80% |  |  |  |  | capture_floor
Node minus hub basis in solar hours ($/MWh, escalates with the hub) | -2.5 |  |  |  |  | basis_2028
Merchant RECs ($/MWh, flat) | 3 |  |  |  |  | rec_price
Capacity price ($/MW-day, flat) | 120 |  |  |  |  | cap_mwday
Days a year | 365 |  |  |  |  | days_year
Solar accreditation in 2028 (share of MWac) | 30% |  |  |  |  | acc_2028
Accreditation loss a year (points) | 1.5% |  |  |  |  | acc_step
Accreditation floor | 12% |  |  |  |  | acc_floor
Offtake
Utility PPA price in 2028 ($/MWh, bundled, at the node) | 57 |  |  |  |  | u_price
Utility PPA escalation a year | 2% |  |  |  |  | u_esc
Utility PPA term (years) | 20 |  |  |  |  | u_years
Corporate virtual PPA price ($/MWh, flat, settled at the hub) | 63 |  |  |  |  | c_price
Virtual PPA term (years) | 15 |  |  |  |  | c_years
Tax credits
PTC base rate before inflation (cents/kWh) | 0.3 |  |  |  |  | ptc_base
Inflation adjustment factor in the reference year | 2.057 |  |  |  |  | ptc_factor
Reference year of the factor | 2026 |  |  |  |  | ptc_factor_year
Growth of the factor a year (case assumption) | 2.5% |  |  |  |  | ptc_factor_g
Rounding step of the base rate (cents) | 0.05 |  |  |  |  | ptc_round
Multiplier with prevailing wage and apprenticeship | 5 |  |  |  |  | ptc_mult
PTC period (years) | 10 |  |  |  |  | ptc_years
ITC rate | 30% |  |  |  |  | itc_rate
Energy community bonus (PTC share or ITC points) | 10% |  |  |  |  | ec_bonus
Domestic content bonus | 10% |  |  |  |  | dc_bonus
Transfer price per dollar of ITC | 0.93 |  |  |  |  | transfer_itc
Transfer price per dollar of PTC | 0.925 |  |  |  |  | transfer_ptc
Discount rates (pre-tax)
Contracted revenue, credit cash and all costs | 7% |  |  |  |  | r_c
Merchant revenue | 9.5% |  |  |  |  | r_m
Debt
Term debt interest rate | 6.25% |  |  |  |  | kd_rate
Coverage ratio on CFADS at P50, contracted cases | 1.3 |  |  |  |  | dscr_p50
Coverage ratio on CFADS at P99 one-year, contracted cases | 1 |  |  |  |  | dscr_p99
Coverage ratio, merchant case (P50) | 2 |  |  |  |  | dscr_m
Tenor, case U (years) | 18 |  |  |  |  | tenor_u
Tenor, case C (years) | 13 |  |  |  |  | tenor_c
Tenor, case M (years) | 7 |  |  |  |  | tenor_m
Construction loan rate | 7% |  |  |  |  | constr_rate
Average construction loan balance (share of the capital cost) | 50% |  |  |  |  | constr_avg
Tax equity (illustrative partnership flip)
Investor's after-tax target yield | 7.5% |  |  |  |  | te_yield
Allocation of income, loss and PTC before the flip | 99% |  |  |  |  | te_alloc_pre
Share of cash before the flip | 10% |  |  |  |  | te_cash_pre
Share of everything after the flip | 5% |  |  |  |  | te_cash_post
Flip year (years after COD) | 10 |  |  |  |  | te_flip
Federal income tax rate | 21% |  |  |  |  | tax_rate
5-year MACRS, year 1 | 20% |  |  |  |  | macrs_1
5-year MACRS, year 2 | 32% |  |  |  |  | macrs_2
5-year MACRS, year 3 | 19.2% |  |  |  |  | macrs_3
5-year MACRS, year 4 | 11.52% |  |  |  |  | macrs_4
5-year MACRS, year 5 | 11.52% |  |  |  |  | macrs_5
5-year MACRS, year 6 | 5.76% |  |  |  |  | macrs_6
Screening sites (chapter 2): capacity factor, gen-tie miles, network upgrades, rent, energy community (1 = yes) | Capacity factor | Gen-tie miles | Network upgrades ($) | Rent ($/acre) | Energy community
Cedar Hollow | 26% | 6 | 18000000 | 1000 | 0 | site table
Bram Creek | 26.8% | 14 | 41000000 | 850 | 1 | site table
Oxley Flats | 24.8% | 2 | 9000000 | 1300 | 0 | site table
Gen-tie cost per mile ($) | 500000 |  |  |  |  | gentie_mile
Gen-tie miles included in the substation line of Cedar Hollow | 6 |  |  |  |  | base_miles
Wind alternative: Hartwell Ridge Wind
Wind: Capacity (MW) | 150 |  |  |  |  | w_mw
Wind: Turbines | 25 |  |  |  |  | w_turbines
Wind: Turbine size (MW) | 6 |  |  |  |  | w_unit_mw
Wind: Net capacity factor, P50 | 36% |  |  |  |  | w_cf_p50
Wind: Life (years) | 30 |  |  |  |  | w_life
Wind: Interannual variability | 6% |  |  |  |  | w_s_iav
Wind: Long-term resource | 5% |  |  |  |  | w_s_lt
Wind: Model: wakes, power curve, losses | 6% |  |  |  |  | w_s_mod
Wind: Turbines ($/kW) | 1250 |  |  |  |  | w_turbine_kw
Wind: Balance of plant ($/kW) | 560 |  |  |  |  | w_bop_kw
Wind: Substation ($) | 11000000 |  |  |  |  | w_substation
Wind: Contingency | 5% |  |  |  |  | w_contingency
Wind: Network upgrades ($) | 22000000 |  |  |  |  | w_interconnect
Wind: Owner's costs ($) | 10000000 |  |  |  |  | w_owner
Wind: Net decommissioning ($/kW, 2027 dollars) | 40 |  |  |  |  | w_decom_kw
Wind: All-in operating cost ($/kW-year, 2028) | 45 |  |  |  |  | w_opex_kw
Wind: Capture rate in 2028 | 93% |  |  |  |  | w_capture0
Wind: Capture rate loss a year | 0.5% |  |  |  |  | w_capture_step
Wind: Capture rate floor | 85% |  |  |  |  | w_capture_floor
Wind: Basis ($/MWh, 2028) | -3 |  |  |  |  | w_basis
Wind: Accreditation (share of MW) | 15% |  |  |  |  | w_acc0
Wind: Utility PPA price ($/MWh, 2028) | 60 |  |  |  |  | w_u_price
Wind: Utility PPA escalation | 2% |  |  |  |  | w_u_esc
Wind: Utility PPA term (years) | 20 |  |  |  |  | w_u_years
Hybrid battery option (chapter 13)
Battery: Power (MW) | 75 |  |  |  |  | h_mw
Battery: Energy (MWh) | 300 |  |  |  |  | h_mwh
Battery: Capital cost ($/kWh) | 240 |  |  |  |  | h_capex_kwh
Battery: Storage ITC rate | 30% |  |  |  |  | h_itc
Battery: Transfer price | 0.93 |  |  |  |  | h_transfer
Battery: Cycles a year | 300 |  |  |  |  | h_cycles
Battery: Availability | 97% |  |  |  |  | h_avail
Battery: Round-trip efficiency | 86% |  |  |  |  | h_rte
Battery: Evening price, 2028 ($/MWh) | 72 |  |  |  |  | h_p_eve
Battery: Midday charging price, 2028 ($/MWh) | 26 |  |  |  |  | h_p_mid
Battery: Price escalation | 2.5% |  |  |  |  | h_esc
Battery: Real decline of the evening price a year | 2% |  |  |  |  | h_spread_real_decline
Battery: Capacity accreditation | 80% |  |  |  |  | h_cap_acc
Battery: Operating cost ($/kW-year, 2028) | 12 |  |  |  |  | h_opex_kw
Battery: Usable energy loss a year | 2% |  |  |  |  | h_deg
Battery: Life (years) | 20 |  |  |  |  | h_life
Battery: Clipped DC energy recovered (MWh a year) | 4000 |  |  |  |  | h_clip_mwh
Battery: capacity contract term (years) | 10 |  |  |  |  | h_cc_years
Battery: capacity contract, low ($/kW-month) | 7 |  |  |  |  | h_cc_7
Battery: capacity contract, central ($/kW-month) | 8 |  |  |  |  | h_cc_8
Battery: capacity contract, high ($/kW-month) | 9 |  |  |  |  | h_cc_9
Foreign entity test: illustrative split of direct costs (not the Treasury table); 1 = from a prohibited foreign entity | Share | Option 1 | Option 2 | Option 3
Solar cells | 22% | 1 | 1 | 1 |  | macr table
Module assembly, glass, frames and backsheet | 28% | 0 | 1 | 1 |  | macr table
Trackers | 22% | 0 | 0 | 0 |  | macr table
Inverters | 12% | 0 | 1 | 0 |  | macr table
Transformers, switchgear and cabling | 16% | 0 | 0 | 0 |  | macr table
Thresholds by year construction begins (year in column D)
Qualified facility threshold, construction beginning in 2026 | 40% | 2026 |  |  |  | thr_2026
Qualified facility threshold, construction beginning in 2027 | 45% | 2027 |  |  |  | thr_2027
Qualified facility threshold, construction beginning in 2028 | 50% | 2028 |  |  |  | thr_2028
Qualified facility threshold, construction beginning in 2029 | 55% | 2029 |  |  |  | thr_2029
Qualified facility threshold, construction beginning in 2030 and after | 60% | 2030 |  |  |  | thr_2030
EPC contract (chapter 9)
Delay liquidated damages ($ per MWac per day) | 350 |  |  |  |  | ld_mw_day
Cap on delay damages (share of the EPC price) | 15% |  |  |  |  | ld_cap
Retention on progress payments | 5% |  |  |  |  | retention
Performance guarantee: tested capacity at least | 97% |  |  |  |  | perf_guarantee
Days in a month for the damages | 30.4 |  |  |  |  | days_month
Delay tested (months), short | 1 |  |  |  |  | delay_m1
Delay tested (months), medium | 3 |  |  |  |  | delay_m3
Delay tested (months), long | 6 |  |  |  |  | delay_m6
Sensitivity settings (Sensitivities, Interconnection, Capex sheets)
Capital cost change (modules, trackers, inverters, BOS, substation, network upgrades) | 10% |  |  |  |  | sens_capex
Network upgrades, first shock ($) | 30000000 |  |  |  |  | sens_ic_30
Network upgrades, second shock ($) | 45000000 |  |  |  |  | sens_ic_45
Module price, high ($/Wdc) | 0.38 |  |  |  |  | sens_mod_hi
Module price, low ($/Wdc) | 0.25 |  |  |  |  | sens_mod_lo
Module price step for the per-cent figure ($/Wdc) | 0.01 |  |  |  |  | sens_cent
Hub price change | -20% |  |  |  |  | sens_hub
Discount rate change (both rates) | 1% |  |  |  |  | sens_rate
Rent change | 20% |  |  |  |  | sens_rent
Energy step for the value of one percent | 1% |  |  |  |  | sens_energy_pt
Tracker energy gain over fixed tilt | 15% |  |  |  |  | fixed_gain
Racking saving of fixed tilt ($/Wdc) | 0.08 |  |  |  |  | fixed_saving
PPA price step for the value of $1.00/MWh | 1 |  |  |  |  | ppa_step
Price step of the break-even tables ($/MWh) | 0.5 |  |  |  |  | be_step
Solver grids (Stages sheet: expected return of starting in 2022)
Coarse grid step of the discount rate | 1% |  |  |  |  | grid_coarse
Fine grid step | 0.05% |  |  |  |  | grid_fine
Scenario switches (reset after use; the Checks sheet is valid with the defaults)
Offtake case shown in the summary of Cases and Debt: U, C or M | U |  |  |  |  | sw_case
Credit: PTC, ITC or None | PTC |  |  |  |  | sw_credit
Bonus credit (0 or 10%: energy community or domestic content) | 0% |  |  |  |  | sw_bonus
Energy level: P50, P75, P90 (ten-year), P99 (one-year) or Free | P50 |  |  |  |  | sw_energy
Energy level when Free (share of P50) | 100% |  |  |  |  | sw_energy_free
Capital cost change (modules, trackers, inverters, BOS, substation, network upgrades) | 0% |  |  |  |  | sw_capex
Module price override ($/Wdc; 0 = use the input above) | 0 |  |  |  |  | sw_module
Network upgrades override ($; 0 = use the input above) | 0 |  |  |  |  | sw_ic
Hub price change | 0% |  |  |  |  | sw_hub
Discount rate change, added to both rates (points) | 0% |  |  |  |  | sw_rate
Values in use (formulas: the base inputs with the switches applied)
Energy as a share of P50 | [5 empty] | x_scale
Modules ($/Wdc) | [5 empty] | x_module
Trackers ($/Wdc) | [5 empty] | x_tracker
Inverters ($/Wac) | [5 empty] | x_inverter
Balance of system ($/Wdc) | [5 empty] | x_bos
Substation and gen-tie ($) | [5 empty] | x_sub
Network upgrades ($) | [5 empty] | x_ic
Contracted rate | [5 empty] | x_rc
Merchant rate | [5 empty] | x_rm
Reimbursement at NTP (physical work plus LGIA security) | [5 empty] | reimb
NTP price paid by Ashgrove (premium plus reimbursement) | [5 empty] | ntp_price
Development budget 2022 to 2026 by category (chapter 5)
Land: options, title, surveys | 1200000 |  |  |  |  | budget table
Environmental studies and permitting | 2400000 |  |  |  |  | budget table
Interconnection studies and deposits (excluding the LGIA security) | 1400000 |  |  |  |  | budget table
Resource assessment and engineering | 1500000 |  |  |  |  | budget table
Legal, offtake and commercial | 1400000 |  |  |  |  | budget table
Team and overhead allocated | 1100000 |  |  |  |  | budget table

## Capex
Capital cost, ITC basis and module price sensitivity (chapters 8, 10, 11), with the switches in use
Cost lines ($; displayed in $ million) | Share
Modules
Trackers and racking
Inverters
Electrical balance of system, civil works and installation
Project substation and gen-tie
Contingency on modules plus EPC scope
Network upgrades
Owner's costs
Total capital cost
EPC price (trackers, inverters, BOS and installation, substation and gen-tie)
Per Wac ($)
Per Wdc ($)
Per kWac ($)
Capital cost plus the NTP premium
Per Wac ($)
Rest of the capital cost Ashgrove pays in 2027 (capital cost less reimbursement)
Network upgrades plus substation and gen-tie, share of the capital cost
ITC alternative (chapter 11)
Eligible basis: modules, EPC scope and contingency, less the gen-tie share of the substation line
Credit at the ITC rate
Cash at the transfer price, end of 2028
Worth on 1 January 2027
Module price sensitivity (from the Sensitivities sheet)
Modules at the high price: capital cost
Modules at the high price: case U development value
Modules at the low price: capital cost
Modules at the low price: case U development value
Each cent per Wdc on modules, contingency included

## Energy
Energy: loss waterfall, P50 by year, uncertainty and exceedance levels (chapter 4)
Year
t (years after commercial operation)
Degradation factor
P50 net energy (MWh)
Energy at the level in use (MWh)
Year-one figures
P50 net energy in 2028 (MWh)
Specific yield (kWh per kWdc)
Specific yield (kWh per kWac)
P50 energy in 2037 (MWh)
P50 energy in 2062 (MWh)
Loss waterfall (each loss applies to the energy left after the previous ones) | Loss | Kept | Cumulative
Soiling and snow
Near shading and row-to-row shading
Temperature
Module quality, mismatch and DC wiring
Inverter efficiency
Clipping at the 1.30 loading ratio
AC wiring, transformers and gen-tie
Availability
Gross DC energy before losses (MWh)
Total losses
Uncertainty and exceedance levels (share of P50)
Combined uncertainty, one year
Combined uncertainty, ten-year average (interannual variability / square root of 10)
P90 one-year
P90 ten-year
P75 ten-year
P99 one-year
P90 one-year energy (MWh)
P90 ten-year energy (MWh)
P99 one-year energy (MWh)
Hartwell Ridge Wind
P50 energy a year (MWh)
Combined uncertainty, one year
Combined uncertainty, ten-year average
P90 one-year
P90 ten-year
P99 one-year
Wind energy / Cedar Hollow's P50 energy

## Market
Market prices and merchant revenue at P50, before the hub switch (chapter 7)
Year
t (years after commercial operation)
Hub around-the-clock price ($/MWh)
Solar capture rate
Solar-weighted hub price ($/MWh)
Basis, node minus hub ($/MWh)
Node price realized by the project ($/MWh)
Solar accreditation (share of MWac)
Capacity revenue ($)
P50 energy (MWh)
Merchant revenue: energy at the node, RECs, capacity ($)
Year if the capture rate is at its floor
Year if accreditation is at its floor
First year at the capture floor
First year at the accreditation floor

## Opex
Operating cost and decommissioning (chapters 3 and 15), with the capital cost in use
Year
t (years after commercial operation)
Escalation factor
Rent escalation factor
O&M contract ($)
Insurance ($)
Land rent ($)
Asset management, payment in lieu of taxes and other ($)
Operating cost ($)
2028 operating cost per kWac-year ($)
Total rent over the life, nominal
Rent share of 2028 operating cost
Leased acres per MWac
Option payments a year during development
Lease rent in 2028
Net decommissioning in 2027 dollars
Net decommissioning at the end of the life, escalated

## Credits
Production tax credit, ITC alternative, bonuses and transfer (chapter 11)
Year
t (years after commercial operation)
Inflation adjustment factor
PTC rate ($/MWh): ROUND(base x factor / 0.05) x 0.05 x 5, in cents, x 10
Within the PTC period (1 = yes)
PTC at P50 energy, no bonus ($)
Cash at the transfer price ($)
Discount factor to 1 January 2027 (contracted rate in use)
2028 PTC at P50 energy
2028 PTC cash
PTC over the ten years
PTC cash over the ten years
Present value of the PTC cash on 1 January 2027
Cost of selling at the transfer price instead of 1.00 (nominal)
Capacity factor above which the PTC beats the ITC (all else equal)
PTC rate by year (cents per kWh) | Year | Factor | Cents/kWh
Case U development value by credit choice (from the Sensitivities sheet)
With the credit in use (PTC by default)
With the ITC
With no credit
With the energy community bonus
PTC over ITC
Cost of losing the credit

## Cases
Cases U (utility PPA), C (corporate virtual PPA) and M (merchant), with the switches in use (chapters 7, 10, 14)
Year
t (years after commercial operation)
Summary | Case U | Case C | Case M | Case in sw_case
Value of the flows on 1 January 2027
Development value
Highest premium at the discount rates
Unlevered pre-tax IRR, price included
Value at COD, 1 January 2028
Value on 1 January of the later sale date
Case U: 20-year utility PPA with Norland, then merchant
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Revenue: contracted + merchant - basis cost ($)
Discount factor to 1 January 2028, contracted rate
Discount factor to 1 January 2028, merchant rate
Discount factor to the later sale date, contracted rate
Discount factor to the later sale date, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Value of the operating project on 1 January 2028 ($)
Per Wac ($)
Value on 1 January of the later sale date ($)
Per Wac ($)
Development value per Wac ($)
Development value bridge (present values on 1 January 2027)
Contracted revenue
Merchant revenue
Credit cash
Operating cost (deducted)
Basis cost (deducted)
Decommissioning (deducted)
Capital cost (deducted)
Development value from the bridge
Period k (years after 1 January 2027): 0 = NTP price, 1 = capital cost less reimbursement (end 2027), 2 = end 2028 ... 36 = end 2062 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Unlevered pre-tax flows, price included ($)
Unlevered pre-tax IRR at total cost (price included)
Check: net present value at the IRR
Case C: 15-year virtual PPA with Quillon, then merchant
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Revenue: contracted + merchant - basis cost ($)
Discount factor to 1 January 2028, contracted rate
Discount factor to 1 January 2028, merchant rate
Discount factor to the later sale date, contracted rate
Discount factor to the later sale date, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Value of the operating project on 1 January 2028 ($)
Per Wac ($)
Value on 1 January of the later sale date ($)
Per Wac ($)
Development value per Wac ($)
Development value bridge (present values on 1 January 2027)
Contracted revenue
Merchant revenue
Credit cash
Operating cost (deducted)
Basis cost (deducted)
Decommissioning (deducted)
Capital cost (deducted)
Development value from the bridge
Period k (years after 1 January 2027): 0 = NTP price, 1 = capital cost less reimbursement (end 2027), 2 = end 2028 ... 36 = end 2062 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Unlevered pre-tax flows, price included ($)
Unlevered pre-tax IRR at total cost (price included)
Check: net present value at the IRR
Case M: fully merchant
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Revenue: contracted + merchant - basis cost ($)
Discount factor to 1 January 2028, contracted rate
Discount factor to 1 January 2028, merchant rate
Discount factor to the later sale date, contracted rate
Discount factor to the later sale date, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Value of the operating project on 1 January 2028 ($)
Per Wac ($)
Value on 1 January of the later sale date ($)
Per Wac ($)
Development value per Wac ($)
Development value bridge (present values on 1 January 2027)
Contracted revenue
Merchant revenue
Credit cash
Operating cost (deducted)
Basis cost (deducted)
Decommissioning (deducted)
Capital cost (deducted)
Development value from the bridge
Period k (years after 1 January 2027): 0 = NTP price, 1 = capital cost less reimbursement (end 2027), 2 = end 2028 ... 36 = end 2062 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36
Unlevered pre-tax flows, price included ($)
Unlevered pre-tax IRR at total cost (price included)
Check: net present value at the IRR
Chapter 7 and 10 figures
Utility PPA over virtual PPA, development value
Utility PPA over merchant, development value
Highest premium with the utility PPA less the premium paid
Case U revenue 2028
Case U revenue 2047
Utility PPA price in 2047 ($/MWh)
2028 virtual PPA: energy sold at the node
2028 virtual PPA: settlement from Quillon (price less solar-weighted hub, times energy)
2028 virtual PPA: capacity
2028 virtual PPA: total revenue
2028 basis cost under the virtual PPA
Basis cost over the virtual PPA term (nominal)
Case M revenue 2028
Case C revenue 2028
Ashgrove's flow on 1 January 2027
Ashgrove's flow at the end of 2027
Case U 2028 EBITDA plus PTC cash
Value at COD (case U) less capital cost plus premium
Ashgrove's total cost: capital cost plus premium
Premium per Wac ($)
Premium per Wdc ($)

## Breakeven
PPA price that leaves Ashgrove exactly at its discount rates after paying the premium (chapter 7)
Year
t (years after commercial operation)
Present value of $1/MWh on the utility PPA, by year (energy x escalation x discount factor)
Present value of $1/MWh on the virtual PPA, by year
Target development value: premium plus reimbursement less the reimbursement discounted one year
Development value of $1.00/MWh on the utility PPA
Development value of $1.00/MWh on the virtual PPA
Break-even utility PPA price ($/MWh, escalating)
Break-even virtual PPA price ($/MWh, flat)
Goal Seek instead: Data, What-If Analysis, Goal Seek; set the case U development value (Cases sheet) to the target above by changing u_price on Inputs. Reset the price after.
Bracketing table (development value is linear in the PPA price) | Utility PPA | Value less target | Virtual PPA | Value less target
Offer price - 10 steps
Offer price - 9 steps
Offer price - 8 steps
Offer price - 7 steps
Offer price - 6 steps
Offer price - 5 steps
Offer price - 4 steps
Offer price - 3 steps
Offer price - 2 steps
Offer price - 1 steps
Offer price + 0 steps
Offer price + 1 steps
Offer price + 2 steps
Offer price + 3 steps
Offer price + 4 steps
Offer price + 5 steps
Offer price + 6 steps
Offer price + 7 steps
Offer price + 8 steps
Offer price + 9 steps
Offer price + 10 steps
The break-even price lies where the "value less target" column changes sign.

## Sensitivities
Sensitivities of the development value, each on top of the switches in use (chapters 3, 4, 6, 8, 10, 11)
Year
t (years after commercial operation)
Tornado: development value on 1 January 2027 | Case U | Change U | Case C | Change C
Development value with the inputs in use
Capital cost +10%
P90 ten-year energy
Network upgrades, first shock
Modules at the high price
Hub price change (merchant revenue)
ITC instead of PTC
No tax credit
Energy community bonus
Discount rates +1 point
Network upgrades, second shock
Modules at the low price
Fixed tilt instead of trackers
Rent +20%
P75 ten-year energy
Energy one percent lower
10 percent of the capital cost; extra spending in the +10% case (owner's costs unchanged)
Capital cost +10%, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Capital cost +10%, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
P90 ten-year energy, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
P90 ten-year energy, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Network upgrades, first shock, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Network upgrades, first shock, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Modules at the high price, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Modules at the high price, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Hub price change (merchant revenue), case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Hub price change (merchant revenue), case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
ITC instead of PTC, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
ITC instead of PTC, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
No tax credit, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
No tax credit, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Energy community bonus, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Energy community bonus, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Discount rates +1 point, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Discount rates +1 point, case C
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($)
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Network upgrades, second shock, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Modules at the low price, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Fixed tilt instead of trackers, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Rent +20%, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
P75 ten-year energy, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)
Energy one percent lower, case U
Capital cost ($)
ITC eligible basis ($)
ITC cash at the end of 2028, if elected ($)
Energy (MWh)
Node price, hub switch applied ($/MWh)
Contracted revenue ($)
Merchant revenue ($)
Basis cost kept by the project ($) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Operating cost ($)
Credit cash ($)
EBITDA ($)
Discount factor to 1 January 2027, contracted rate
Discount factor to 1 January 2027, merchant rate
Value on 1 January 2027 of the flows from 2028 (split rates) ($)
Development value on 1 January 2027: value less the capital cost ($)
Highest premium Ashgrove can pay at NTP ($)

## Screening
Screening: three sites and the wind alternative, levelized cost at 7.0 percent (chapter 2); base inputs, no switch
Year
t (years after commercial operation)
Discount factor, base contracted rate
Degradation x discount factor
Escalation x discount factor
Rent escalation x discount factor
Degradation x PTC rate x PTC period x discount factor
Net capacity factor
Gen-tie miles
Network upgrade estimate ($)
Land rent ($/acre-year)
Energy community (1 = yes)
Substation and gen-tie ($)
Capital cost ($)
P50 energy in 2028 (MWh)
Present value of P50 energy (MWh)
Present value of operating cost ($)
Present value of PTC cash, bonus included ($)
Present value of decommissioning ($)
Levelized cost without credits ($/MWh)
Levelized cost with the PTC (and the bonus where it applies) ($/MWh)
Hartwell Ridge Wind, levelized cost without credits ($/MWh)
Hartwell Ridge Wind, levelized cost with the PTC ($/MWh)

## Interconnection
Interconnection: deposit ladder, cost and upgrade shocks (chapter 6)
Deposit ladder (Order No. 2023 cluster process)
Cluster study deposit ($)
Initial readiness deposit ($)
Readiness deposit at the restudy (on assigned network upgrades)
Readiness deposit at the facilities study: amount at risk on withdrawal in January 2025
Security at the LGIA (January 2026)
Cost
Network upgrades per kWac ($)
Network upgrades plus substation and gen-tie, share of the capital cost
Development value lost per extra $1 million of network upgrades (capital and insurance)
of which the capital itself (paid at the end of 2027, discounted one year)
of which insurance, charged every year on the capital cost
Upgrade-shock table, case U | Development value | Change | Highest premium
Network upgrades in use
First shock (sens_ic_30)
Second shock (sens_ic_45)

## Stages
Stage values, delay, Calder's return and the expected return of starting in 2022 (chapters 1, 5, 10, 14); base inputs
Calder's outlays (from Inputs) and the probability of reaching NTP at each outlay date | Date | Amount | Probability
Stage values at the development discount rate | Date | Probability | Outlays to come | Expected outlays | Value | Per kWac | Step
Development spend 2022 to 2026
Development budget by category, total (Inputs check: equals the spend)
Stage value at the tested date if every later milestone and outlay slips (delay_years)
Calder's own flows on a half-year grid (spend at the start of each year, security on 1 January 2026, physical work on 1 July 2026, NTP price on 1 January 2027)
Date
Flow ($)
All outlays (development spend plus reimbursable costs)
NTP price / all outlays
Premium / development spend
IRR on a project that succeeds (half-year IRR, annualized)
Expected return of starting in January 2022: the discount rate at which the 2022 stage value is zero (grid search, no macro)
| Rate | Stage value | Rate if positive
Highest coarse rate with a positive value
| Rate | Stage value | Rate if positive
Highest fine rate with a positive value
Stage value at that rate
Stage value one fine step higher
Expected return (linear interpolation inside the fine step)

## Sale
Selling at earlier stages, milestone payments, the platform and later sales (chapter 14)
Sale at a stage value: half-year grid of flows (development spend before the sale date only, price on the sale date)
Date
Sale on 1 January 2024: flows ($)
Spent before the sale
Price (stage value)
IRR (annualized)
Sale on 1 January 2025: flows ($)
Spent before the sale
Price (stage value)
IRR (annualized)
Sale on 1 January 2026: flows ($)
Spent before the sale
Price (stage value)
IRR (annualized)
The 2024, 2025 and 2026 dates in these labels and flows are the stage dates of Inputs; change them there.
Sale on 1 January 2025 with milestone payments
Probability of reaching the LGIA from the permitted stage
Probability of reaching NTP
Headline price
Expected present value to Calder at the development rate
All-cash stage value on the same date
Calder's platform on 1 January 2027 (stage value per MWac x pipeline MWac) | Date | MWac | Value
Platform total
Later sales (from the Cases sheet)
Value of the operating project on 1 January 2028, case U
Building through COD adds (value at COD less capital cost plus premium)
Case U value on 1 January of the later sale date
Case C value on 1 January of the later sale date

## Debt
Term debt sculpted on P50 and P99 CFADS, equity flows and construction interest (chapter 12)
Year
t (years after commercial operation)
Discount factor at the debt rate (drawn at COD)
Case U: sculpted to the lower of P50 / 1.30 and P99 one-year / 1.00
Within the tenor (1 = yes)
CFADS at the energy in use: EBITDA, credit cash excluded ($)
Energy-linked revenue (all bundled PPA revenue, contracted less basis cost, plus merchant revenue other than capacity)
CFADS at P99 one-year energy ($)
CFADS at P50 / ratio ($)
CFADS at P99 / ratio ($)
Debt service ($)
Binding constraint
Term debt drawn at COD ($)
Share of the capital cost
Ashgrove's equity in 2027: NTP price plus capital cost less reimbursement less debt ($)
Equity flows by period k (0 = 1 January 2027, 1 = end 2027, 2 = end 2028 ...)
Pre-tax equity IRR with PTC cash
Case C: sculpted to the lower of P50 / 1.30 and P99 one-year / 1.00
Within the tenor (1 = yes)
CFADS at the energy in use: EBITDA, credit cash excluded ($)
Energy-linked revenue (all bundled PPA revenue, contracted less basis cost, plus merchant revenue other than capacity)
CFADS at P99 one-year energy ($)
CFADS at P50 / ratio ($)
CFADS at P99 / ratio ($)
Debt service ($)
Binding constraint
Term debt drawn at COD ($)
Share of the capital cost
Ashgrove's equity in 2027: NTP price plus capital cost less reimbursement less debt ($)
Equity flows by period k (0 = 1 January 2027, 1 = end 2027, 2 = end 2028 ...)
Pre-tax equity IRR with PTC cash
Case M: P50 / 2.00 over the merchant tenor
Within the tenor (1 = yes)
CFADS at the energy in use: EBITDA, credit cash excluded ($)
Energy-linked revenue (all bundled PPA revenue, contracted less basis cost, plus merchant revenue other than capacity)
CFADS at P99 one-year energy ($)
CFADS at P50 / ratio ($)
CFADS at P99 / ratio ($)
Debt service ($)
Binding constraint
Term debt drawn at COD ($)
Share of the capital cost
Ashgrove's equity in 2027: NTP price plus capital cost less reimbursement less debt ($)
Equity flows by period k (0 = 1 January 2027, 1 = end 2027, 2 = end 2028 ...)
Pre-tax equity IRR with PTC cash
Selected case (sw_case): term debt and equity IRR
Case U in 2028, as printed in chapter 12
Revenue
Operating cost
CFADS
CFADS / 1.30
CFADS at P99 one-year with all contracted revenue scaled (chapter 12 text)
Debt service
Construction loan interest: average balance x rate x one year (not in the unlevered model)

## Tax equity
Illustrative partnership flip with the PTC, back-leverage and the two capital stacks, case U (chapter 12)
Year
t (years after commercial operation)
Before the flip (1 = yes)
Investor's allocation of income, loss and PTC
5-year MACRS depreciation ($)
Investor's PTC ($; P50 energy, no bonus)
Tax saved (+) or paid (-) by the investor ($)
Investor's cash ($)
Discount factor at the investor's yield
Ashgrove's share of cash
Depreciable base: capital cost less network upgrades and owner's costs
Present value of the PTC allocated
Present value of tax saved or paid
Present value of cash
Tax equity investment at COD
Share of the capital cost
Capital stacks at COD, case U
Uses: capital cost plus the premium (the reimbursement is already inside the capital cost)
Back-leverage on Ashgrove's share of cash (same sculpting as the term debt)
Ashgrove's equity with tax equity
Term debt with credit transfer
Ashgrove's equity with credit transfer
PTC cash in 2028

## FEOC
Material assistance cost ratio of three supply options (chapter 11); illustrative split, not the Treasury table
Component | Share | Option 1 | Option 2 | Option 3
Total of the split (must be 100%)
Material assistance cost ratio
Passes the threshold for construction beginning in (year in column C)
Case U development value with the credit in use
Case U development value if the test fails (no credit)

## Wind
Hartwell Ridge Wind: capital cost, utility PPA with and without the PTC, break-even prices (chapters 2, 4, 8, 11); base inputs
Year
t (years after commercial operation)
Within the life (1 = yes)
Energy (MWh)
Wind capture rate
Node price ($/MWh)
Capacity revenue ($)
Merchant revenue ($)
Utility PPA revenue ($)
Merchant revenue after the PPA ($)
Operating cost ($)
PTC cash, if earned ($)
Discount factor, contracted rate
Discount factor, merchant rate
Present value of $1/MWh on the PPA
Turbines
Balance of plant
Substation
Contingency
Network upgrades
Owner's costs
Total capital cost
Per kW ($)
Cedar Hollow per kWac ($)
Wind energy per kW / solar energy per kWac
Decommissioning at the end of the life
Present value of decommissioning
Value before credits: PPA, merchant, operating cost, decommissioning, capital cost
Present value of PTC cash
Development value if it had earned the PTC
Development value without the PTC
Break-even PPA price without the credit ($/MWh)
Break-even PPA price with the credit ($/MWh)
PTC cash in 2028
Levelized cost without credits ($/MWh)
Levelized cost with the PTC ($/MWh)

## Hybrid
Hybrid option: 75 MW / 300 MWh battery behind the point of interconnection (chapter 13); base rates
Year
t (years after commercial operation)
Within the life (1 = yes)
Usable energy (MWh)
Energy discharged (MWh)
Energy charged (MWh)
Evening price ($/MWh)
Midday charging price ($/MWh)
Shifting margin ($)
Recovered clipped energy ($)
Accreditation
Merchant capacity ($)
Operating cost ($)
EBITDA, merchant ($)
Within the capacity contract (1 = yes)
Discount factor, contracted rate
Discount factor, merchant rate
Capital cost
Storage ITC cash at the transfer price (2028)
Development value, fully merchant
Development value with a capacity contract (h_cc_7 $/kW-month)
Development value with a capacity contract (h_cc_8 $/kW-month)
Development value with a capacity contract (h_cc_9 $/kW-month)

## EPC
EPC contract: delay damages, cost of delay, retention and performance buy-down (chapters 9 and 15)
EPC price (from Capex)
Delay damages a day ($)
Delay damages a month
Cap on delay damages
Retention at completion
Value of 1 percent of energy, case U (from Sensitivities)
Per kWac ($)
Cost of a COD delay, case U (approximation of model.delay_cost) | Margin lost | Time value on deferred PTC | Total cost | Days | EPC delay damages | Left with Ashgrove
Delay of delay_m1 months
Delay of delay_m3 months
Delay of delay_m6 months
The 12 converts months to a year.

## Checks
Checks: every figure the book prints beside the cell that computes it (valid with the default inputs and switches)
Result:
Fact key (_FACTS.md) | Figure | Book value | Workbook | Tolerance | Pass | As printed in the book
capex_lines | Modules | 58500000 |  | 50005 |  | $58.5 million
capex_lines | Trackers | 27300000 |  | 50005 |  | $27.3 million
capex_lines | Inverters | 9000000 |  | 50005 |  | $9.0 million
capex_lines | Balance of system | 78000000 |  | 50005 |  | $78.0 million
capex_lines | Substation and gen-tie | 12000000 |  | 50005 |  | $12.0 million
capex_lines | Contingency | 9200000 |  | 50005 |  | $9.2 million
capex_lines | Network upgrades | 18000000 |  | 50005 |  | $18.0 million
capex_lines | Owner's costs | 9000000 |  | 50005 |  | $9.0 million
capex_total | Total capital cost | 221000000 |  | 50005 |  | $221.0 million
capex_total | Per Wac | 1.47 |  | 0.0050005 |  | $1.47
capex_total | Per Wdc | 1.13 |  | 0.0050005 |  | $1.13
capex_total | With the NTP premium | 248000000 |  | 50005 |  | $248.0 million
capex_total | With the premium, per Wac | 1.65 |  | 0.0050005 |  | $1.65
capex_shares | Share: mod | 26% |  | 0.5001% |  | 26 percent
capex_shares | Share: trk | 12% |  | 0.5001% |  | 12 percent
capex_shares | Share: inv | 4% |  | 0.5001% |  | 4 percent
capex_shares | Share: bos | 35% |  | 0.5001% |  | 35 percent
capex_shares | Share: sub | 5% |  | 0.5001% |  | 5 percent
capex_shares | Share: ic | 8% |  | 0.5001% |  | 8 percent
module_38 | Capital cost | 237400000 |  | 50005 |  | $237.4 million
module_38 | Case U development value | 17300000 |  | 50005 |  | $17.3 million
module_38 | Change (difference of the printed values) | -16100000 |  | 50005 |  | minus $16.1 million
module_25 | Capital cost | 210800000 |  | 50005 |  | $210.8 million
module_25 | Case U development value | 43400000 |  | 50005 |  | $43.4 million
module_25 | Change (difference of the printed values) | 10000000 |  | 50005 |  | +$10.0 million
module_cent | Each cent on modules | 2050000 |  | 5000.5 |  | $2.05 million
itc_alt | Eligible basis | 189800000 |  | 50005 |  | $189.8 million
itc_alt | Credit at 30 percent | 57000000 |  | 50005 |  | $57.0 million
itc_alt | Cash at 0.93 | 53000000 |  | 50005 |  | $53.0 million
itc_alt | Worth on 1 January 2027 | 46300000 |  | 50005 |  | $46.3 million
epc_price | EPC price | 126300000 |  | 50005 |  | $126.3 million
ic_cost | Network upgrades per kWac | 120 |  | 0.50005 |  | $120
ic_cost | Share of the capital cost | 14% |  | 0.5001% |  | 14 percent
wind_vs_solar_capex | Solar per kWac | 1474 |  | 0.50005 |  | $1,474
p50 | P50 energy 2028 | 341640 |  | 0.50005 |  | 341,640
p50 | P50 energy 2037 | 329536 |  | 0.50005 |  | 329,536
p50 | P50 energy 2062 | 298117 |  | 0.50005 |  | 298,117
losses | Gross energy | 410242 |  | 0.50005 |  | 410,242
losses | Total losses | 16.7% |  | 0.05001% |  | 16.7 percent
sigma | One-year sigma | 7.3% |  | 0.05001% |  | 7.3 percent
sigma | Ten-year sigma | 5.5% |  | 0.05001% |  | 5.5 percent
pxx | p90_1 | 90.6% |  | 0.05001% |  | 90.6 percent
pxx | p90_1 MWh | 309689 |  | 0.50005 |  | 309,689
pxx | p90_10 | 92.9% |  | 0.05001% |  | 92.9 percent
pxx | p90_10 MWh | 317360 |  | 0.50005 |  | 317,360
pxx | p99_1 | 83% |  | 0.05001% |  | 83.0 percent
pxx | p99_1 MWh | 283645 |  | 0.50005 |  | 283,645
specific_yield | kWh per kWdc | 1752 |  | 0.50005 |  | 1,752
specific_yield | kWh per kWac | 2278 |  | 0.50005 |  | 2,278
p90_value | P90 ten-year value | 10900000 |  | 50005 |  | $10.9 million
p90_value | P75 ten-year share | 96.3% |  | 0.05001% |  | 96.3 percent
p90_value | P75 ten-year value | 21500000 |  | 50005 |  | $21.5 million
p90_point | Value of 1 percent of energy | 3200000 |  | 50005 |  | $3.2 million
wind_energy | Wind MWh | 473040 |  | 0.50005 |  | 473,040
wind_energy | Wind sigma one-year | 9.8% |  | 0.05001% |  | 9.8 percent
wind_energy | Wind sigma ten-year | 8% |  | 0.05001% |  | 8.0 percent
wind_energy | Wind P90 one-year | 87.4% |  | 0.05001% |  | 87.4 percent
wind_energy | Wind P90 ten-year | 89.7% |  | 0.05001% |  | 89.7 percent
wind_energy | Wind P99 one-year | 77.1% |  | 0.05001% |  | 77.1 percent
wind_vs_solar_energy | Energy ratio | 1.38 |  | 0.0050005 |  | 1.38
prices_2028 | Hub 2028 | 50 |  | 0.0050005 |  | $50.00
prices_2028 | Solar-weighted hub 2028 | 45 |  | 0.0050005 |  | $45.00
prices_2028 | Node 2028 | 42.5 |  | 0.0050005 |  | $42.50
prices_2028 | Capacity revenue 2028 | 1970000 |  | 5000.5 |  | $1.97 million
prices_2032 | Hub | 55.19 |  | 0.0050005 |  | $55.19
prices_2032 | Capture | 86.8% |  | 0.05001% |  | 86.8 percent
prices_2032 | Solar-weighted hub | 47.91 |  | 0.0050005 |  | $47.91
prices_2032 | Node | 45.15 |  | 0.0050005 |  | $45.15
prices_2032 | Accreditation | 24% |  | 0.05001% |  | 24.0 percent
prices_2032 | Merchant revenue | 17760000 |  | 5000.5 |  | $17.76 million
prices_2042 | Hub | 70.65 |  | 0.0050005 |  | $70.65
prices_2042 | Capture | 80% |  | 0.05001% |  | 80.0 percent
prices_2042 | Solar-weighted hub | 56.52 |  | 0.0050005 |  | $56.52
prices_2042 | Node | 52.99 |  | 0.0050005 |  | $52.99
prices_2042 | Accreditation | 12% |  | 0.05001% |  | 12.0 percent
prices_2042 | Merchant revenue | 18870000 |  | 5000.5 |  | $18.87 million
prices_2047 | Hub | 79.93 |  | 0.0050005 |  | $79.93
prices_2047 | Capture | 80% |  | 0.05001% |  | 80.0 percent
prices_2047 | Solar-weighted hub | 63.95 |  | 0.0050005 |  | $63.95
prices_2047 | Node | 59.95 |  | 0.0050005 |  | $59.95
prices_2047 | Accreditation | 12% |  | 0.05001% |  | 12.0 percent
prices_2047 | Merchant revenue | 20720000 |  | 5000.5 |  | $20.72 million
capture_floor_year | Capture floor year | 2041 |  | 0.50005 |  | 2041
capture_floor_year | Accreditation floor year | 2040 |  | 0.50005 |  | 2040
o_and_m_2028 | Operating cost 2028 | 4760000 |  | 5000.5 |  | $4.76 million
o_and_m_2028 | O&M | 1350000 |  | 5000.5 |  | $1.35 million
o_and_m_2028 | Insurance | 660000 |  | 5000.5 |  | $0.66 million
o_and_m_2028 | Rent | 1050000 |  | 5000.5 |  | $1.05 million
o_and_m_2028 | Other | 1700000 |  | 5000.5 |  | $1.70 million
o_and_m_2028 | Per kWac-year | 31.75 |  | 0.0050005 |  | $31.75
rent_path | Rent 2062 | 2060000 |  | 5000.5 |  | $2.06 million
rent_path | Total rent | 52500000 |  | 50005 |  | $52.5 million
decom_bond | Decommissioning, 2027 dollars | 7800000 |  | 50005 |  | $7.8 million
decom_bond | Decommissioning, escalated | 19000000 |  | 50005 |  | $19.0 million
land | Acres per MWac | 7 |  | 0.050005 |  | 7.0
land | Option payments a year | 50000 |  | 5000.5 |  | $0.05 million
land | Rent 2028 | 1050000 |  | 5000.5 |  | $1.05 million
land_value_share | Rent share | 22% |  | 0.5001% |  | 22 percent
land_value_share | Value lost with rent +20% | 3200000 |  | 50005 |  | $3.2 million
ptc_rates | PTC rate 2026 | 3 |  | 0.0050005 |  | 3.00 cents
ptc_rates | PTC rate 2027 | 3.25 |  | 0.0050005 |  | 3.25 cents
ptc_rates | PTC rate 2028 | 3.25 |  | 0.0050005 |  | 3.25 cents
ptc_rates | PTC rate 2030 | 3.5 |  | 0.0050005 |  | 3.50 cents
ptc_rates | PTC rate 2033 | 3.75 |  | 0.0050005 |  | 3.75 cents
ptc_rates | PTC rate 2037 | 4 |  | 0.0050005 |  | 4.00 cents
ptc_2028 | PTC rate 2028 $/MWh | 32.5 |  | 0.0050005 |  | $32.50
ptc_2028 | PTC 2028 face | 11100000 |  | 5000.5 |  | $11.10 million
ptc_2028 | PTC 2028 cash | 10270000 |  | 5000.5 |  | $10.27 million
ptc_total | PTC face, ten years | 121500000 |  | 50005 |  | $121.5 million
ptc_total | PTC cash, ten years | 112400000 |  | 50005 |  | $112.4 million
ptc_total | PTC cash present value | 73000000 |  | 50005 |  | $73.0 million
itc_vs_ptc | With the ITC | 6600000 |  | 50005 |  | $6.6 million
itc_vs_ptc | With no credit | -39600000 |  | 50005 |  | minus $39.6 million
itc_vs_ptc | PTC over ITC (difference of the printed values) | 26800000 |  | 50005 |  | $26.8 million
itc_vs_ptc | Cost of losing the credit (difference of the printed values) | 73000000 |  | 50005 |  | $73.0 million
itc_ptc_crossover | Crossover capacity factor | 16.5% |  | 0.05001% |  | 16.5 percent
ec_bonus | Value with the bonus | 40700000 |  | 50005 |  | $40.7 million
ec_bonus | Change (difference of the printed values) | 7300000 |  | 50005 |  | +$7.3 million
transfer_cost | Transfer haircut | 9100000 |  | 50005 |  | $9.1 million
boc_miss | Cost of losing the credit | 73000000 |  | 50005 |  | $73.0 million
macr_fail_cost | No-credit value | -39600000 |  | 50005 |  | minus $39.6 million
macr_opt1 | Ratio option 1 | 78% |  | 0.5001% |  | 78 percent
macr_opt2 | Ratio option 2 | 38% |  | 0.5001% |  | 38 percent
macr_opt3 | Ratio option 3 | 50% |  | 0.5001% |  | 50 percent
caseU | Value of the flows | 239900000 |  | 50005 |  | $239.9 million
caseU | Development value | 33400000 |  | 50005 |  | $33.4 million
caseU | Highest premium | 32800000 |  | 50005 |  | $32.8 million
caseU | Unlevered IRR | 8.38% |  | 0.005001% |  | 8.38 percent
caseU | Value at COD | 257400000 |  | 50005 |  | $257.4 million
caseU | Value at COD per Wac | 1.72 |  | 0.0050005 |  | $1.72
caseU_ebitda | EBITDA 2028 | 14710000 |  | 5000.5 |  | $14.71 million
caseU_ebitda | EBITDA 2032 | 15510000 |  | 5000.5 |  | $15.51 million
caseU_ebitda | EBITDA 2042 | 17660000 |  | 5000.5 |  | $17.66 million
caseU_ebitda | EBITDA 2048 | 13470000 |  | 5000.5 |  | $13.47 million
caseU_ebitda | EBITDA 2062 | 16910000 |  | 5000.5 |  | $16.91 million
caseC | Value of the flows | 221800000 |  | 50005 |  | $221.8 million
caseC | Development value | 15200000 |  | 50005 |  | $15.2 million
caseC | Highest premium | 14700000 |  | 50005 |  | $14.7 million
caseC | Unlevered IRR | 8.15% |  | 0.005001% |  | 8.15 percent
caseC | Value at COD | 238700000 |  | 50005 |  | $238.7 million
caseC | Value at COD per Wac | 1.59 |  | 0.0050005 |  | $1.59
caseC_ebitda | EBITDA 2028 | 17880000 |  | 5000.5 |  | $17.88 million
caseC_ebitda | EBITDA 2032 | 16590000 |  | 5000.5 |  | $16.59 million
caseC_ebitda | EBITDA 2042 | 13360000 |  | 5000.5 |  | $13.36 million
caseC_ebitda | EBITDA 2048 | 13470000 |  | 5000.5 |  | $13.47 million
caseC_ebitda | EBITDA 2062 | 16910000 |  | 5000.5 |  | $16.91 million
caseM | Value of the flows | 168300000 |  | 50005 |  | $168.3 million
caseM | Development value | -38200000 |  | 50005 |  | minus $38.2 million
caseM | Highest premium | -38800000 |  | 50005 |  | minus $38.8 million
caseM | Unlevered IRR | 6.69% |  | 0.005001% |  | 6.69 percent
caseM | Value at COD | 184500000 |  | 50005 |  | $184.5 million
caseM | Value at COD per Wac | 1.23 |  | 0.0050005 |  | $1.23
caseM_ebitda | EBITDA 2028 | 12750000 |  | 5000.5 |  | $12.75 million
caseM_ebitda | EBITDA 2032 | 12530000 |  | 5000.5 |  | $12.53 million
caseM_ebitda | EBITDA 2042 | 12240000 |  | 5000.5 |  | $12.24 million
caseM_ebitda | EBITDA 2048 | 13470000 |  | 5000.5 |  | $13.47 million
caseM_ebitda | EBITDA 2062 | 16910000 |  | 5000.5 |  | $16.91 million
headline_values | NTP price | 35100000 |  | 50005 |  | $35.1 million
headline_values | Reimbursement | 8100000 |  | 50005 |  | $8.1 million
ppa_gap | U over C | 18200000 |  | 50005 |  | $18.2 million
ppa_gap | U over M | 71600000 |  | 50005 |  | $71.6 million
ppa_u | Revenue 2028 | 19470000 |  | 5000.5 |  | $19.47 million
ppa_u | Revenue 2047 | 26290000 |  | 5000.5 |  | $26.29 million
ppa_u | Price 2047 | 83.04 |  | 0.0050005 |  | $83.04
vppa_2028 | Energy at the node | 14520000 |  | 5000.5 |  | $14.52 million
vppa_2028 | Settlement | 6150000 |  | 5000.5 |  | $6.15 million
vppa_2028 | Capacity | 1970000 |  | 5000.5 |  | $1.97 million
vppa_2028 | Total | 22640000 |  | 5000.5 |  | $22.64 million
vppa_basis | Basis cost 2028 | 850000 |  | 5000.5 |  | $0.85 million
vppa_basis | Basis cost over the term | 14900000 |  | 50005 |  | $14.9 million
merchant_2028 | Merchant 2028 | 17520000 |  | 5000.5 |  | $17.52 million
merchant_2028 | Virtual PPA 2028 | 22640000 |  | 5000.5 |  | $22.64 million
bridge_U | Contracted revenue (rounded to add up) | 217300000 |  | 100010 |  | $217.3 million
bridge_U | Merchant revenue (rounded to add up) | 27300000 |  | 100010 |  | $27.3 million
bridge_U | PTC cash (rounded to add up) | 73000000 |  | 100010 |  | $73.0 million
bridge_U | Operating cost (rounded to add up) | 75900000 |  | 100010 |  | $75.9 million
bridge_U | Basis cost (rounded to add up) | 0 |  | 100010 |  | $0.0 million
bridge_U | Decommissioning (rounded to add up) | 1700000 |  | 100010 |  | $1.7 million
bridge_U | Capital cost (rounded to add up) | 206600000 |  | 100010 |  | $206.6 million
bridge_U | Development value | 33400000 |  | 50005 |  | $33.4 million
bridge_C | Contracted revenue (rounded to add up) | 179000000 |  | 100010 |  | $179.0 million
bridge_C | Merchant revenue (rounded to add up) | 55600000 |  | 100010 |  | $55.6 million
bridge_C | PTC cash (rounded to add up) | 73000000 |  | 100010 |  | $73.0 million
bridge_C | Operating cost (rounded to add up) | 75900000 |  | 100010 |  | $75.9 million
bridge_C | Basis cost (rounded to add up) | 8200000 |  | 100010 |  | $8.2 million
bridge_C | Decommissioning (rounded to add up) | 1700000 |  | 100010 |  | $1.7 million
bridge_C | Capital cost (rounded to add up) | 206600000 |  | 100010 |  | $206.6 million
bridge_C | Development value | 15200000 |  | 50005 |  | $15.2 million
headroom | Highest premium, case U | 32800000 |  | 50005 |  | $32.8 million
headroom | Headroom | 5800000 |  | 50005 |  | $5.8 million
cf_2027 | Flow on 1 January 2027 | -35100000 |  | 50005 |  | minus $35.1 million
cf_2027 | Flow at the end of 2027 | -212900000 |  | 50005 |  | minus $212.9 million
cf_2027 | 2028 EBITDA plus PTC | 25000000 |  | 50005 |  | $25.0 million
dev_value_per_w | Case U per Wac | 0.222 |  | 0.00050005 |  | $0.222
dev_value_per_w | Case C per Wac | 0.101 |  | 0.00050005 |  | $0.101
dev_value_per_w | Premium per Wac | 0.18 |  | 0.00050005 |  | $0.180
ntp_price | Premium per Wdc | 0.138 |  | 0.00050005 |  | $0.138
ntp_price | Rest of the capital cost | 212900000 |  | 50005 |  | $212.9 million
cod_sale | Total cost | 248000000 |  | 50005 |  | $248.0 million
cod_sale | Value added by building | 9400000 |  | 50005 |  | $9.4 million
sale2038_U | Value in 2038 | 153800000 |  | 50005 |  | $153.8 million
sale2038_U | Per Wac | 1.03 |  | 0.0050005 |  | $1.03
sale2038_C | Value in 2038 | 114600000 |  | 50005 |  | $114.6 million
sale2038_C | Per Wac | 0.76 |  | 0.0050005 |  | $0.76
ppa_breakeven | Utility PPA break-even | 55.47 |  | 0.0050005 |  | $55.47
ppa_breakeven | Virtual PPA break-even | 67.33 |  | 0.0050005 |  | $67.33
ppa_minus2 | Value of $1 on the utility PPA | 3800000 |  | 50005 |  | $3.8 million
ppa_minus2 | Value of $1 on the virtual PPA | 2800000 |  | 50005 |  | $2.8 million
sens_U | capex: value | 12500000 |  | 50005 |  | $12.5 million
sens_U | capex: change (difference of the printed values) | -20900000 |  | 50005 |  | minus $20.9 million
sens_U | p90: value | 10900000 |  | 50005 |  | $10.9 million
sens_U | p90: change (difference of the printed values) | -22500000 |  | 50005 |  | minus $22.5 million
sens_U | ic30: value | 21600000 |  | 50005 |  | $21.6 million
sens_U | ic30: change (difference of the printed values) | -11800000 |  | 50005 |  | minus $11.8 million
sens_U | mod38: value | 17300000 |  | 50005 |  | $17.3 million
sens_U | mod38: change (difference of the printed values) | -16100000 |  | 50005 |  | minus $16.1 million
sens_U | hub: value | 28000000 |  | 50005 |  | $28.0 million
sens_U | hub: change (difference of the printed values) | -5400000 |  | 50005 |  | minus $5.4 million
sens_U | itc: value | 6600000 |  | 50005 |  | $6.6 million
sens_U | itc: change (difference of the printed values) | -26800000 |  | 50005 |  | minus $26.8 million
sens_U | none: value | -39600000 |  | 50005 |  | minus $39.6 million
sens_U | none: change (difference of the printed values) | -73000000 |  | 50005 |  | minus $73.0 million
sens_U | ec: value | 40700000 |  | 50005 |  | $40.7 million
sens_U | ec: change (difference of the printed values) | 7300000 |  | 50005 |  | +$7.3 million
sens_U | rate: value | 16500000 |  | 50005 |  | $16.5 million
sens_U | rate: change (difference of the printed values) | -16900000 |  | 50005 |  | minus $16.9 million
sens_C | capex: value | -5600000 |  | 50005 |  | minus $5.6 million
sens_C | capex: change (difference of the printed values) | -20800000 |  | 50005 |  | minus $20.8 million
sens_C | p90: value | -5200000 |  | 50005 |  | minus $5.2 million
sens_C | p90: change (difference of the printed values) | -20400000 |  | 50005 |  | minus $20.4 million
sens_C | ic30: value | 3400000 |  | 50005 |  | $3.4 million
sens_C | ic30: change (difference of the printed values) | -11800000 |  | 50005 |  | minus $11.8 million
sens_C | mod38: value | -900000 |  | 50005 |  | minus $0.9 million
sens_C | mod38: change (difference of the printed values) | -16100000 |  | 50005 |  | minus $16.1 million
sens_C | hub: value | 6300000 |  | 50005 |  | $6.3 million
sens_C | hub: change (difference of the printed values) | -8900000 |  | 50005 |  | minus $8.9 million
sens_C | itc: value | -11500000 |  | 50005 |  | minus $11.5 million
sens_C | itc: change (difference of the printed values) | -26700000 |  | 50005 |  | minus $26.7 million
sens_C | none: value | -57800000 |  | 50005 |  | minus $57.8 million
sens_C | none: change (difference of the printed values) | -73000000 |  | 50005 |  | minus $73.0 million
sens_C | ec: value | 22500000 |  | 50005 |  | $22.5 million
sens_C | ec: change (difference of the printed values) | 7300000 |  | 50005 |  | +$7.3 million
sens_C | rate: value | 1900000 |  | 50005 |  | $1.9 million
sens_C | rate: change (difference of the printed values) | -13300000 |  | 50005 |  | minus $13.3 million
capex_10 | 10 percent of capital cost | 22100000 |  | 50005 |  | $22.1 million
capex_10 | Extra spending | 21200000 |  | 50005 |  | $21.2 million
ic_30 | Development value | 21600000 |  | 50005 |  | $21.6 million
ic_30 | Change (difference of the printed values) | -11800000 |  | 50005 |  | minus $11.8 million
ic_30 | Highest premium | 21000000 |  | 50005 |  | $21.0 million
ic_45 | Development value | 6800000 |  | 50005 |  | $6.8 million
ic_45 | Change (difference of the printed values) | -26600000 |  | 50005 |  | minus $26.6 million
ic_45 | Highest premium | 6300000 |  | 50005 |  | $6.3 million
ic_breakeven | Per $1 million of upgrades | 980000 |  | 5000.5 |  | $0.98 million
ic_breakeven | Capital part | 930000 |  | 5000.5 |  | $0.93 million
ic_breakeven | Insurance part (difference of the printed values) | 50000 |  | 5000.5 |  | $0.05 million
tracker | Fixed-tilt energy | 297078 |  | 0.50005 |  | 297,078
tracker | Fixed-tilt capital cost | 204700000 |  | 50005 |  | $204.7 million
tracker | Fixed-tilt development value | 8200000 |  | 50005 |  | $8.2 million
site_cedar | Capital cost | 221000000 |  | 50005 |  | $221.0 million
site_cedar | P50 energy | 341640 |  | 0.50005 |  | 341,640
site_cedar | Levelized cost without credits | 71.7 |  | 0.0050005 |  | $71.70
site_cedar | Levelized cost with credits | 53.28 |  | 0.0050005 |  | $53.28
site_bram | Capital cost | 248200000 |  | 50005 |  | $248.2 million
site_bram | P50 energy | 352152 |  | 0.50005 |  | 352,152
site_bram | Levelized cost without credits | 75.51 |  | 0.0050005 |  | $75.51
site_bram | Levelized cost with credits | 55.26 |  | 0.0050005 |  | $55.26
site_oxley | Capital cost | 209900000 |  | 50005 |  | $209.9 million
site_oxley | P50 energy | 325872 |  | 0.50005 |  | 325,872
site_oxley | Levelized cost without credits | 73.54 |  | 0.0050005 |  | $73.54
site_oxley | Levelized cost with credits | 55.13 |  | 0.0050005 |  | $55.13
lcoe_case | Wind without credits | 74.79 |  | 0.0050005 |  | $74.79
lcoe_case | Wind with the PTC | 56.06 |  | 0.0050005 |  | $56.06
ic_deposits | Restudy deposit | 900000 |  | 5000.5 |  | $0.90 million
ic_deposits | Facilities study deposit | 1800000 |  | 5000.5 |  | $1.80 million
ic_deposits | LGIA security | 3600000 |  | 5000.5 |  | $3.60 million
ic_deposits | Study deposit | 150000 |  | 0.50005 |  | $150,000
ic_deposits | Initial readiness deposit | 300000 |  | 0.50005 |  | $300,000
withdrawal | Deposit at risk | 1800000 |  | 5000.5 |  | $1.80 million
stage_2022 | Stage value | 20000 |  | 5000.5 |  | $0.02 million
stage_2022 | Per kWac | 0.1 |  | 0.0050005 |  | $0.10
stage_2022 | Outlays to come | 17100000 |  | 50005 |  | $17.1 million
stage_2022 | Expected outlays | 5200000 |  | 50005 |  | $5.2 million
stage_2023 | Stage value | 540000 |  | 5000.5 |  | $0.54 million
stage_2023 | Per kWac | 3.63 |  | 0.0050005 |  | $3.63
stage_2023 | Outlays to come | 16800000 |  | 50005 |  | $16.8 million
stage_2023 | Expected outlays | 7400000 |  | 50005 |  | $7.4 million
stage_2024 | Stage value | 2490000 |  | 5000.5 |  | $2.49 million
stage_2024 | Per kWac | 16.61 |  | 0.0050005 |  | $16.61
stage_2024 | Outlays to come | 15900000 |  | 50005 |  | $15.9 million
stage_2024 | Expected outlays | 9700000 |  | 50005 |  | $9.7 million
stage_2025 | Stage value | 7130000 |  | 5000.5 |  | $7.13 million
stage_2025 | Per kWac | 47.52 |  | 0.0050005 |  | $47.52
stage_2025 | Outlays to come | 14100000 |  | 50005 |  | $14.1 million
stage_2025 | Expected outlays | 11500000 |  | 50005 |  | $11.5 million
stage_2026 | Stage value | 13770000 |  | 5000.5 |  | $13.77 million
stage_2026 | Per kWac | 91.79 |  | 0.0050005 |  | $91.79
stage_2026 | Outlays to come | 11500000 |  | 50005 |  | $11.5 million
stage_2026 | Expected outlays | 10900000 |  | 50005 |  | $10.9 million
stage_2026b | Stage value | 25610000 |  | 5000.5 |  | $25.61 million
stage_2026b | Per kWac | 170.75 |  | 0.0050005 |  | $170.75
stage_2026b | Outlays to come | 4500000 |  | 50005 |  | $4.5 million
stage_2026b | Expected outlays | 4500000 |  | 50005 |  | $4.5 million
stage_2027 | Stage value | 35100000 |  | 5000.5 |  | $35.10 million
stage_2027 | Per kWac | 234 |  | 0.0050005 |  | $234.00
stage_2027 | Outlays to come | 0 |  | 50005 |  | $0.0 million
stage_2027 | Expected outlays | 0 |  | 50005 |  | $0.0 million
stage_jumps | PPA and start of construction | 11800000 |  | 50005 |  | $11.8 million
stage_jumps | Permit | 4600000 |  | 50005 |  | $4.6 million
stage_jumps | Interconnection agreement | 6600000 |  | 50005 |  | $6.6 million
risk_retired | Development spend | 9000000 |  | 50005 |  | $9.0 million
risk_retired | Value at site control | 20000 |  | 5000.5 |  | $0.02 million
risk_retired | Value at NTP | 35100000 |  | 50005 |  | $35.1 million
risk_retired | Reimbursable costs | 8100000 |  | 50005 |  | $8.1 million
permit_value_step | Value before the permit | 2490000 |  | 5000.5 |  | $2.49 million
permit_value_step | Value with the permit | 7130000 |  | 5000.5 |  | $7.13 million
developer | Development spend | 9000000 |  | 50005 |  | $9.0 million
developer | Advanced and reimbursed | 8100000 |  | 50005 |  | $8.1 million
developer | NTP price | 35100000 |  | 50005 |  | $35.1 million
delay_year | Stage value after a one-year slip | 5860000 |  | 5000.5 |  | $5.86 million
developer | NTP price / all outlays | 2.05 |  | 0.0050005 |  | 2.05
developer | Premium / development spend | 3 |  | 0.0050005 |  | 3.00
developer | IRR on a success | 50.7% |  | 0.05001% |  | 50.7 percent
expected_return | Expected return of starting in 2022 | 15.2% |  | 0.05001% |  | 15.2 percent
dev_budget | Budget total | 9000000 |  | 50005 |  | $9.0 million
sale_2024 | Price | 2490000 |  | 5000.5 |  | $2.49 million
sale_2024 | Spent | 1200000 |  | 50005 |  | $1.2 million
sale_2024 | IRR | 74.9% |  | 0.05001% |  | 74.9 percent
sale_2025 | Price | 7130000 |  | 5000.5 |  | $7.13 million
sale_2025 | Spent | 3000000 |  | 50005 |  | $3.0 million
sale_2025 | IRR | 69.9% |  | 0.05001% |  | 69.9 percent
sale_2026 | Price | 13770000 |  | 5000.5 |  | $13.77 million
sale_2026 | Spent | 5600000 |  | 50005 |  | $5.6 million
sale_2026 | IRR | 56.7% |  | 0.05001% |  | 56.7 percent
earnout | Probability of the LGIA | 81% |  | 0.5001% |  | 81 percent
earnout | Headline price | 10000000 |  | 50005 |  | $10.0 million
earnout | Expected value | 6580000 |  | 5000.5 |  | $6.58 million
earnout | All-cash stage value | 7130000 |  | 5000.5 |  | $7.13 million
platform | Stage 2022 | 200000 |  | 50005 |  | $0.2 million
platform | Stage 2023 | 3300000 |  | 50005 |  | $3.3 million
platform | Stage 2024 | 10000000 |  | 50005 |  | $10.0 million
platform | Stage 2025 | 21400000 |  | 50005 |  | $21.4 million
platform | Stage 2026 | 27500000 |  | 50005 |  | $27.5 million
platform | Stage 2027 | 35100000 |  | 50005 |  | $35.1 million
platform | Total | 97400000 |  | 50005 |  | $97.4 million
platform | Total MWac | 4200 |  | 0.50005 |  | 4,200
debt_U | Term debt | 131800000 |  | 50005 |  | $131.8 million
debt_U | Share of capital cost | 60% |  | 0.5001% |  | 60 percent
debt_U | First-year debt service | 11320000 |  | 5000.5 |  | $11.32 million
debt_U | Equity in 2027 | 116200000 |  | 50005 |  | $116.2 million
debt_U | Equity IRR | 10.03% |  | 0.005001% |  | 10.03 percent
debt_C | Term debt | 108600000 |  | 50005 |  | $108.6 million
debt_C | Share of capital cost | 49% |  | 0.5001% |  | 49 percent
debt_C | First-year debt service | 13750000 |  | 5000.5 |  | $13.75 million
debt_C | Equity in 2027 | 139400000 |  | 50005 |  | $139.4 million
debt_C | Equity IRR | 8.89% |  | 0.005001% |  | 8.89 percent
debt_M | Term debt | 34900000 |  | 50005 |  | $34.9 million
debt_M | Share of capital cost | 16% |  | 0.5001% |  | 16 percent
debt_M | First-year debt service | 6380000 |  | 5000.5 |  | $6.38 million
debt_M | Equity in 2027 | 213200000 |  | 50005 |  | $213.2 million
debt_M | Equity IRR | 6.71% |  | 0.005001% |  | 6.71 percent
debt_U_2028 | Revenue | 19470000 |  | 5000.5 |  | $19.47 million
debt_U_2028 | Operating cost | 4760000 |  | 5000.5 |  | $4.76 million
debt_U_2028 | CFADS | 14710000 |  | 5000.5 |  | $14.71 million
debt_U_2028 | CFADS / 1.30 | 11320000 |  | 5000.5 |  | $11.32 million
debt_U_2028 | CFADS at P99 (text) | 11400000 |  | 5000.5 |  | $11.40 million
debt_U_2028 | Debt service | 11320000 |  | 5000.5 |  | $11.32 million
construction_loan | Construction interest | 7700000 |  | 50005 |  | $7.7 million
tax_equity | Investment | 106800000 |  | 50005 |  | $106.8 million
tax_equity | Share of capital cost | 48% |  | 0.5001% |  | 48 percent
tax_equity | PTC part | 81600000 |  | 50005 |  | $81.6 million
tax_equity | Depreciable base | 194000000 |  | 50005 |  | $194.0 million
tax_equity | Tax part | 10100000 |  | 50005 |  | $10.1 million
tax_equity | Cash part | 15100000 |  | 50005 |  | $15.1 million
stack_te | Uses | 248000000 |  | 50005 |  | $248.0 million
stack_te | Back-leverage | 120900000 |  | 50005 |  | $120.9 million
stack_te | Ashgrove's equity (difference of the printed values) | 20300000 |  | 50005 |  | $20.3 million
stack_te | Capital cost | 221000000 |  | 50005 |  | $221.0 million
stack_transfer | Term debt | 131800000 |  | 50005 |  | $131.8 million
stack_transfer | Ashgrove's equity (difference of the printed values) | 116200000 |  | 50005 |  | $116.2 million
stack_transfer | Ashgrove's equity equals debt_U equity | 116200000 |  | 50005 |  | $116.2 million
stack_transfer | PTC cash 2028 | 10270000 |  | 5000.5 |  | $10.27 million
wind_capex | Total | 328600000 |  | 50005 |  | $328.6 million
wind_capex | Per kW | 2191 |  | 0.50005 |  | $2,191
wind_capex | Turbines | 187500000 |  | 50005 |  | $187.5 million
wind_capex | Balance of plant | 84000000 |  | 50005 |  | $84.0 million
wind_capex | Contingency | 14100000 |  | 50005 |  | $14.1 million
wind_vs_solar_capex | Energy per kW ratio | 1.38 |  | 0.0050005 |  | 1.38
wind_credit | Value with the PTC | 53000000 |  | 50005 |  | $53.0 million
wind_credit | Value without the PTC | -49800000 |  | 50005 |  | minus $49.8 million
wind_credit | Break-even without the credit | 69.14 |  | 0.0050005 |  | $69.14
wind_credit | Break-even with the credit | 50.28 |  | 0.0050005 |  | $50.28
wind_ptc_2028 | Wind PTC 2028 | 14220000 |  | 5000.5 |  | $14.22 million
hybrid | Capital cost | 72000000 |  | 50005 |  | $72.0 million
hybrid | Storage ITC cash | 20100000 |  | 50005 |  | $20.1 million
hybrid_2028 | Discharged MWh | 87300 |  | 0.50005 |  | 87,300
hybrid_2028 | Shifting margin | 3650000 |  | 5000.5 |  | $3.65 million
hybrid_2028 | Clipped energy | 250000 |  | 5000.5 |  | $0.25 million
hybrid_2028 | Capacity | 2630000 |  | 5000.5 |  | $2.63 million
hybrid_2028 | Operating cost | 900000 |  | 5000.5 |  | $0.90 million
hybrid_2028 | EBITDA (sum of the printed lines) | 5630000 |  | 5000.5 |  | $5.63 million
hybrid_2028 | EBITDA, exact | 5630000 |  | 10001 |  | $5.63 million
hybrid_value | Merchant | -16000000 |  | 50005 |  | minus $16.0 million
hybrid_value | Capacity contract $8 | 17300000 |  | 50005 |  | $17.3 million
hybrid_cc7 | Capacity contract $7 | 11300000 |  | 50005 |  | $11.3 million
hybrid_cc9 | Capacity contract $9 | 23200000 |  | 50005 |  | $23.2 million
delay_ld | Damages a day | 52500 |  | 0.50005 |  | $52,500
delay_ld | Damages a month | 1600000 |  | 5000.5 |  | $1.60 million
delay_ld | Cap | 18900000 |  | 50005 |  | $18.9 million
delay_cost | Margin, one month | 1230000 |  | 5000.5 |  | $1.23 million
delay_cost | PTC time value, one month | 420000 |  | 5000.5 |  | $0.42 million
delay_cost | Total, one month (sum of the printed lines) | 1650000 |  | 5000.5 |  | $1.65 million
delay_cost | Left with Ashgrove after damages (printed lines) | 50000 |  | 5000.5 |  | $0.05 million
delay_cost | Damages a month | 1600000 |  | 5000.5 |  | $1.60 million
delay_3m | Margin | 3680000 |  | 5000.5 |  | $3.68 million
delay_3m | PTC time value | 1260000 |  | 5000.5 |  | $1.26 million
delay_3m | Delay damages | 4790000 |  | 5000.5 |  | $4.79 million
delay_3m | Total (sum of the printed lines) | 4940000 |  | 5000.5 |  | $4.94 million
delay_3m | Left with Ashgrove (printed lines) | 150000 |  | 5000.5 |  | $0.15 million
delay_3m | Days | 91.2 |  | 0.050005 |  | 91.2
delay_3m | Damages a day | 52500 |  | 0.50005 |  | $52,500
delay_3m | Cap | 18900000 |  | 50005 |  | $18.9 million
delay_6m | Margin | 7360000 |  | 5000.5 |  | $7.36 million
delay_6m | PTC time value | 2520000 |  | 5000.5 |  | $2.52 million
delay_6m | Delay damages | 9580000 |  | 5000.5 |  | $9.58 million
delay_6m | Total (sum of the printed lines) | 9880000 |  | 5000.5 |  | $9.88 million
delay_6m | Left with Ashgrove (printed lines) | 300000 |  | 5000.5 |  | $0.30 million
delay_6m | Days | 182.4 |  | 0.050005 |  | 182.4
delay_6m | Damages a day | 52500 |  | 0.50005 |  | $52,500
delay_6m | Cap | 18900000 |  | 50005 |  | $18.9 million
retention | Retention | 6300000 |  | 50005 |  | $6.3 million
perf_ld | Per kWac per percent | 21.11 |  | 0.0050005 |  | $21.11
Identities (valid with any inputs)
Cost lines sum to the total capital cost
Case U capital cost on Cases equals Capex
Revenue = contracted + merchant - basis cost, every case and year
Bridge sums to the development value, cases U, C and M
Net present value at the IRR is zero, cases U, C and M
Equity in 2027 = uses less debt (NTP price plus capital cost less reimbursement less debt)
Stage value at NTP equals the NTP price
Development budget by category equals the development spend
Foreign entity cost split adds up to 100 percent
Expected return: the 2022 stage value brackets zero inside the fine grid